## Average Audiogram
Average AC Audiogram with Standard-Deviation & Target-Limits
| Right | [16 empty] | Left
| Frequency / [Hz] | [16 empty] | Frequency / [Hz]
| 125 | 250 | 500 | 750 | 1k | 1.5k | 2k | 3k | 4k | 6k | 8k | 9k | 10k | 11.2k | 12.5k | 14k | 16k | 125 | 250 | 500 | 750 | 1k | 1.5k | 2k | 3k | 4k | 6k | 8k | 9k | 10k | 11.2k | 12.5k | 14k | 16k
| 125 | 250 | 500 | 750 | 1000 | 1500 | 2000 | 3000 | 4000 | 6000 | 8000 | 9000 | 10000 | 11200 | 12500 | 14000 | 16000
| 3.8 | 7.8 | 11.8 | 14.1399 | 15.8 | 18.1399 | 19.8 | 22.1399 | 23.8 | 26.1399 | 27.8 | 28.4797 | 29.0877 | 29.7417 | 30.3754 | 31.0294 | 31.8 | 4.2 | 8.2 | 12.2 | 14.5399 | 16.2 | 18.5399 | 20.2 | 22.5399 | 24.2 | 26.5399 | 28.2 | 28.8797 | 29.4877 | 30.1417 | 30.7754 | 31.4294 | 32.2
| 3.8 | 7.8 | 11.8 | 14.1399 | 15.8 | 18.1399 | 19.8 | 22.1399 | 23.8 | 26.1399 | 27.8 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 4.2 | 8.2 | 12.2 | 14.5399 | 16.2 | 18.5399 | 20.2 | 22.5399 | 24.2 | 26.5399 | 28.2 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
Mean | 23.75 | 25.25 | 27.875 | 32.125 | 30.8974 | 33 | 36 | 43.125 | 47.125 | 52.125 | 61.625 | [6 empty] | 23.375 | 25.375 | 29.125 | 35 | 32.875 | 38.125 | 42.125 | 50.75 | 53.25 | 55.1282 | 63.2051
STD | 17.4587 | 19.5117 | 21.1796 | 22.4718 | 25.2845 | 24.411 | 23.8101 | 23.6342 | 25.3915 | 27.3366 | 27.5818 | [6 empty] | 20.6741 | 23.408 | 26.1869 | 27.7581 | 29.6321 | 30.3967 | 31.5596 | 30.0971 | 30.4359 | 29.4352 | 29.3681

## AC,BC,UCL Audiogram
Individual AC,BC,UCL Audiogram
| 39 |  |  | <-- Choose Subject here
Audiogram |  | Right | [16 empty] | Left | [16 empty] | Date
Hearing Thresh. |  | Frequency / [Hz] | [16 empty] | Frequency / [Hz]
39 | Subject | 125 | 250 | 500 | 750 | 1k | 1.5k | 2k | 3k | 4k | 6k | 8k | 9k | 10k | 11.2k | 12.5k | 14k | 16k | 125 | 250 | 500 | 750 | 1k | 1.5k | 2k | 3k | 4k | 6k | 8k | 9k | 10k | 11.2k | 12.5k | 14k | 16k | R | L
AC | VP30 N1 | 15 | 10 | 5 | 10 | 10 | 20 | 25 | 30 | 35 | 40 | 55 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 5 | 10 | 5 | 10 | 10 | 15 | 25 | 40 | 40 | 50 | 60 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
BC | VP30 N1 | #N/A | #N/A | 5 | 10 | 10 | 20 | 25 | 30 | 30 | #N/A | #N/A | [6 empty] | #N/A | #N/A | 5 | 10 | 10 | 15 | 25 | 40 | 35 | #N/A | #N/A | [6 empty] | #N/A | #N/A
UCL | VP30 N1 | #N/A | #N/A | 90 | #N/A | 85 | #N/A | 85 | #N/A | 85 | #N/A | #N/A | [6 empty] | #N/A | #N/A | 80 | #N/A | 80 | #N/A | 80 | #N/A | 90 | #N/A | #N/A | [6 empty] | #N/A | #N/A
AC - BC: |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 5 | [10 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 5 | [9 empty] | 10 | <-- Limit for AC - BC
AC(R) - AC(L): |  | 10 | 0 | 0 | 0 | 0 | 5 | 0 | -10 | -5 | -10 | -5 | [24 empty] | 10 | <-- Limit for AC(R) - AC(L)
Limits in the figures above (and for average-figure):
|  | 125 | 250 | 500 | 750 | 1k | 1.5k | 2k | 3k | 4k | 6k | 8k | 9k | 10k | 11.2k | 12.5k | 14k | 16k
| Min | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | <-- Specifiy Level-Limit (AC) here
| Target | [18 empty] | <-- Specifiy Target Level (AC) here
| Max | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | <-- Specifiy Level-Limit (AC) here
Please leave alone the following block:
|  | 125 | 250 | 500 | 750 | 1k | 1.5k | 2k | 3k | 4k | 6k | 8k | 9k | 10k | 11.2k | 12.5k | 14k | 16k
|  | 125 | 250 | 500 | 750 | 1000 | 1500 | 2000 | 3000 | 4000 | 6000 | 8000 | 9000 | 10000 | 11200 | 12500 | 14000 | 16000
|  | 4 | 8 | 12 | 14.3399 | 16 | 18.3399 | 20 | 22.3399 | 24 | 26.3399 | 28 | 28.6797 | 29.2877 | 29.9417 | 30.5754 | 31.2294 | 32
|  | 4 | 8 | 12 | 14.3399 | 16 | 18.3399 | 20 | 22.3399 | 24 | 26.3399 | 28 | 28.6797 | 29.2877 | 29.9417 | 30.5754 | 31.2294 | 32
Virtuelle Skala |  | 125 | 250 | 500 | 750 | 1000 | 1500 | 2000 | 3000 | 4000 | 6000 | [6 empty] | 8000
|  | 1000 | 2000 | 3000 | 3500 | 4000 | 4500 | 5000 | 5500 | 6000 | 6500 | [6 empty] | 7000

## Standard diagnostics
[10 empty] | Hearing Threshold - Air Conduction (AC) | [35 empty] | Hearing Threshold - Bone Conduction (BC) | [23 empty] | Uncomfortable Loudness Level (UCL) | [23 empty] | Most Comfortable Loudness Level (MCL) | [23 empty] | PTA (500 ¦ 1k ¦ 2k ¦ 4k)
[12 empty] | Right | [16 empty] | Left | [18 empty] | Right | [10 empty] | Left | [12 empty] | Right | [10 empty] | Left | [12 empty] | Right | [10 empty] | Left
[10 empty] | Date |  | Frequency / [Hz] | [16 empty] | Frequency / [Hz] | [16 empty] | Date |  | Frequency / [Hz] | [10 empty] | Frequency / [Hz] | [10 empty] | Date |  | Frequency / [Hz] | [10 empty] | Frequency / [Hz] | [10 empty] | Date |  | Frequency / [Hz] | [10 empty] | Frequency / [Hz] | [10 empty] | AC |  | BC
No | Subject | DFG-Code | W4A-ID | HZO-ID | Klarname | Jahrgang | Geschlecht | Versorgt | VersorgtSeit | Right | Left | 125 | 250 | 500 | 750 | 1k | 1.5k | 2k | 3k | 4k | 6k | 8k | 9k | 10k | 11.2k | 12.5k | 14k | 16k | 125 | 250 | 500 | 750 | 1k | 1.5k | 2k | 3k | 4k | 6k | 8k | 9k | 10k | 11.2k | 12.5k | 14 | 16k | Right | Left | 125 | 250 | 500 | 750 | 1k | 1.5k | 2k | 3k | 4k | 6k | 8k | 125 | 250 | 500 | 750 | 1k | 1.5k | 2k | 3k | 4k | 6k | 8k | Right | Left | 125 | 250 | 500 | 750 | 1k | 1.5k | 2k | 3k | 4k | 6k | 8k | 125 | 250 | 500 | 750 | 1k | 1.5k | 2k | 3k | 4k | 6k | 8k | Right | Left | 125 | 250 | 500 | 750 | 1k | 1.5k | 2k | 3k | 4k | 6k | 8k | 125 | 250 | 500 | 750 | 1k | 1.5k | 2k | 3k | 4k | 6k | 8k | Right | Left | Right | Left
[9 empty] | Mean / Max Date: | 2019-12-04 | 2019-12-04 | 23.75 | 25.25 | 27.875 | 32.125 | 30.8974 | 33 | 36 | 43.125 | 47.125 | 52.125 | 61.625 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 23.375 | 25.375 | 29.125 | 35 | 32.875 | 38.125 | 42.125 | 50.75 | 53.25 | 55.1282 | 63.2051 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | #DIV/0! | #DIV/0! | 24.0789 | 27.8947 | 28.8158 | 31.8421 | 35.2632 | 38.5135 | 40.9211 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 22.2368 | 28.7838 | 26.9737 | 34.0789 | 38.1579 | 41.4865 | 43.6486 | #DIV/0! | #DIV/0! | 0 | 0 | #DIV/0! | #DIV/0! | 94.3421 | #DIV/0! | 91.9737 | #DIV/0! | 93.0263 | 102.8571 | 95.2632 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 93.7838 | #DIV/0! | 91.8919 | #DIV/0! | 92.7778 | 102.5 | 94.1429 | #DIV/0! | #DIV/0! | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[9 empty] | Std.-Dev. / Min Date: | 2019-12-04 | 2019-12-04 | 17.4587 | 19.5117 | 21.1796 | 22.4718 | 25.2845 | 24.411 | 23.8101 | 23.6342 | 25.3915 | 27.3366 | 27.5818 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 20.6741 | 23.408 | 26.1869 | 27.7581 | 29.6321 | 30.3967 | 31.5596 | 30.0971 | 30.4359 | 29.4352 | 29.3681 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | #DIV/0! | #DIV/0! | 19.6199 | 21.6742 | 23.1748 | 23.4354 | 23.4217 | 23.6545 | 22.7458 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 20.225 | 21.9027 | 24.3715 | 26.7333 | 26.4938 | 25.7084 | 25.6485 | #DIV/0! | #DIV/0! | 0 | 0 | #DIV/0! | #DIV/0! | 14.8493 | #DIV/0! | 12.7629 | #DIV/0! | 11.8287 | 9.5503 | 12.2445 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 14.549 | #DIV/0! | 13.6601 | #DIV/0! | 12.2733 | 11.3933 | 12.8616 | #DIV/0! | #DIV/0! | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
1 | VP10 N4 | VP10 |  | N4 |  | 1941 | m | ja | 2007-10 | 2019-06-27 13:21:43 | 2019-06-27 13:21:43 | 30 | 35 | 35 | 45 | 45 | 55 | 70 | 70 | 75 | 90 | 90 | [6 empty] | 30 | 35 | 40 | 50 | 55 | 55 | 70 | 80 | 90 | 90 | 100 | [6 empty] | 2019-06-27 13:21:43 | 2019-06-27 13:21:43 |  |  | 30 | 40 | 45 | 55 | 65 | 70 | 65 |  |  |  |  | 35 | 40 | 45 | 55 | 65 | 70 | 75 |  |  | 2019-06-27 13:21:43 | 2019-06-27 13:21:43 |  |  | 110 |  | 105 |  | 110 | 110 | 115 |  |  |  |  | 115 |  | 115 |  | 110 | 115 | 115 |  |  | 2019-06-27 13:21:43 | 2019-06-27 13:21:43 | [22 empty] | 56.25 | 63.75 | 51.25 | 55
2 | VP35 NH | VP35 |  | NH |  | 1967 | w | nein |  | 2019-12-03 15:08:58 | 2019-12-03 15:08:58 | 5 | -5 | 0 | 5 | -5 | 0 | 0 | 5 | 5 | 5 | 15 | [6 empty] | 0 | -5 | 0 | 5 | 0 | 10 | 10 | 10 | 15 | 5 | 5 | [6 empty] | 2019-12-03 15:08:58 | 2019-12-03 15:08:58 |  |  | -10 | -5 | -5 | 0 | 0 | -5 | 0 |  |  |  |  | -10 | -5 | -5 | 10 | 0 | 0 | 10 |  |  | 2019-12-03 15:08:58 | 2019-12-03 15:08:58 |  |  | 65 |  | 65 |  | 70 |  | 70 |  |  |  |  | 60 |  | 65 |  | 70 |  | 65 |  |  | 2019-12-03 15:08:58 | 2019-12-03 15:08:58 | [22 empty] | 0 | 6.25 | -3.75 | -1.25
3 | VP02 N1 | VP02 |  | N1 |  | 1952 | m |  |  | 2019-04-26 00:00:00 | 2019-04-26 00:00:00 | 65 | 70 | 70 | 70 | 70 | 65 | 65 | 65 | 75 | 90 | 90 | [6 empty] | 15 | 5 | 5 | 5 | 10 | 15 | 15 | 20 | 45 | 35 | 60 | [6 empty] | 2019-04-26 00:00:00 | 2019-04-26 00:00:00 |  |  | 60 | 60 | 60 | 60 | 60 |  | 65 |  |  |  |  | 5 |  | 10 | 10 | 15 | 20 | 30 |  |  | 2019-04-26 00:00:00 | 2019-04-26 00:00:00 | [22 empty] | 2019-04-26 00:00:00 | 2019-04-26 00:00:00 | [22 empty] | 70 | 18.75 | 61.25 | 15
4 | VP07 N4 | VP07 |  | N4 |  | 1957 | w | ja | 1988-01 | 2019-12-11 10:42:09 | 2019-12-11 10:42:09 | 55 | 55 | 60 | 70 | 75 | 70 | 75 | 65 | 70 | 85 | 95 | [6 empty] | 20 | 25 | 40 | 50 | 55 | 60 | 65 | 70 | 70 | 70 | 75 | [6 empty] | 2019-12-11 10:42:09 | 2019-12-11 10:42:09 |  |  | 55 | 60 | 65 | 70 | 70 | 70 | 65 |  |  |  |  | 25 | 40 | 50 | 55 | 65 | 60 | 70 |  |  | 2019-12-11 10:42:09 | 2019-12-11 10:42:09 |  |  | 115 |  | 120 |  | 110 | 105 | 115 |  |  |  |  | 110 |  | 95 |  | 95 | 95 | 100 |  |  | 2019-12-11 10:42:09 | 2019-12-11 10:42:09 | [22 empty] | 70 | 57.5 | 63.75 | 52.5
5 | VP31 N1 | VP31 |  | N1 |  | 1954 | w | nein |  | 2019-12-03 09:10:51 | 2019-12-03 09:10:51 | 5 | 5 | 5 | 10 | 10 | 10 | 20 | 35 | 40 | 40 | 45 | [6 empty] | 5 | 5 | 5 | 10 | 10 | 10 | 20 | 30 | 45 | 40 | 35 | [6 empty] | 2019-12-03 09:10:51 | 2019-12-03 09:10:51 |  |  | 5 | 10 | 10 | 10 | 20 | 30 | 30 |  |  |  |  | 5 | 10 | 10 | 10 | 20 | 30 | 35 |  |  | 2019-12-03 09:10:51 | 2019-12-03 09:10:51 |  |  | 115 |  | 100 |  | 100 | 100 | 100 |  |  |  |  | 115 |  | 105 |  | 100 | 90 | 90 |  |  | 2019-12-03 09:10:51 | 2019-12-03 09:10:51 | [22 empty] | 18.75 | 20 | 16.25 | 17.5
6 | VP25 N4 | VP25 |  | N4 |  | 1961 | m | ja | 1996-01 | 2019-11-26 15:14:56 | 2019-11-26 15:14:56 | 70 | 70 | 70 | 70 | 75 | 80 | 70 | 70 | 70 | 60 | 65 | [6 empty] | 80 | 90 | 85 | 80 | 75 | 70 | 65 | 65 | 65 | 60 | 65 | [6 empty] | 2019-11-26 15:14:56 | 2019-11-26 15:14:56 |  |  | 60 | 70 | 70 | 70 | 70 | 65 | 70 |  |  |  |  | 65 | 70 | 70 | 70 | 65 | 65 | 60 |  |  | 2019-11-26 15:14:56 | 2019-11-26 15:14:56 |  |  | 105 |  | 105 |  | 105 | 105 | 105 |  |  |  |  | 105 |  | 105 |  | 100 | 100 | 105 |  |  | 2019-11-26 15:14:56 | 2019-11-26 15:14:56 | [22 empty] | 71.25 | 72.5 | 67.5 | 65
7 | VP28 N2 | VP28 |  | N2 |  | 1946 | m | nein |  | 2019-11-26 12:14:30 | 2019-11-26 12:14:30 | 10 | 10 | 10 | 20 | 15 | 20 | 20 | 40 | 40 | 45 | 75 | [6 empty] | 15 | 15 | 15 | 20 | 15 | 20 | 30 | 55 | 55 | 55 | 75 | [6 empty] | 2019-11-26 12:14:30 | 2019-11-26 12:14:30 |  |  | 10 | 20 | 15 | 20 | 20 | 35 | 40 |  |  |  |  | 10 | 15 | 10 | 20 | 30 | 50 | 50 |  |  | 2019-11-26 12:14:30 | 2019-11-26 12:14:30 |  |  | 65 |  | 65 |  | 65 |  | 70 |  |  |  |  | 65 |  | 65 |  | 70 |  | 70 |  |  | 2019-11-26 12:14:30 | 2019-11-26 12:14:30 | [22 empty] | 21.25 | 28.75 | 21.25 | 25
8 | VP06 N2 | VP06 |  | N2 |  | 1942 | w |  |  | 2019-07-09 17:05:29 | 2019-07-09 17:05:29 | 25 | 20 | 20 | 30 | 35 | 35 | 35 | 45 | 45 | 45 | 60 | [6 empty] | 95 | 105 | 115 | 115 | 115 | 110 | 110 | 115 | 110 | 100 | 100 | [6 empty] | 2019-07-09 17:05:29 | 2019-07-09 17:05:29 |  |  | 20 | 30 | 30 | 30 | 30 | 40 | 40 |  |  |  |  | 65 | 75 | 80 | 80 | 80 | 75 | 75 |  |  | 2019-07-09 17:05:29 | 2019-07-09 17:05:29 |  |  | 90 |  | 90 |  | 95 |  | 95 | [13 empty] | 2019-07-09 17:05:29 | 2019-07-09 17:05:29 | [22 empty] | 33.75 | 112.5 | 30 | 75
9 | VP34 N3 | VP34 |  | N3 |  | 1952 | w | ja |  | 2019-12-06 08:58:31 | 2019-12-06 08:58:31 | 55 | 55 | 55 | 60 | 60 | 60 | 65 | 65 | 60 | 65 | 80 | [6 empty] | 25 | 25 | 30 | 30 | 35 | 45 | 45 | 55 | 50 | 50 | 70 | [6 empty] | 2019-12-06 08:58:31 | 2019-12-06 08:58:31 |  |  | 55 | 55 | 55 | 55 | 65 | 60 | 60 |  |  |  |  | 30 | 30 | 30 | 40 | 45 | 55 | 50 |  |  | 2019-12-06 08:58:31 | 2019-12-06 08:58:31 |  |  | 90 |  | 90 |  | 95 |  | 95 |  |  |  |  | 80 |  | 80 |  | 85 |  | 90 |  |  | 2019-12-06 08:58:31 | 2019-12-06 08:58:31 | [22 empty] | 60 | 40 | 58.75 | 38.75
10 | VP32 N1 | VP32 |  | N1 |  | 1955 | m | ja | 2019-12 | 2019-12-06 09:11:25 | 2019-12-06 09:11:25 | 10 | 5 | 5 | 5 | 10 | 15 | 15 | 30 | 35 | 30 | 30 | [6 empty] | 10 | 5 | 5 | 15 | 10 | 15 | 15 | 35 | 45 | 55 | 60 | [6 empty] | 2019-12-06 09:11:25 | 2019-12-06 09:11:25 |  |  | 0 | 0 | 10 | 10 | 15 | 25 | 30 |  |  |  |  | 0 | 10 | 10 | 10 | 15 | 25 | 45 |  |  | 2019-12-06 09:11:25 | 2019-12-06 09:11:25 |  |  | 80 |  | 85 |  | 85 |  | 80 |  |  |  |  | 85 |  | 90 |  | 85 |  | 85 |  |  | 2019-12-06 09:11:25 | 2019-12-06 09:11:25 | [22 empty] | 16.25 | 18.75 | 13.75 | 17.5
11 | VP27 N4 | VP27 |  | N4 |  | 1946 | m | ja | 2004-11 | 2019-12-02 09:45:51 | 2019-12-02 09:45:51 | 25 | 30 | 45 | 55 | 60 | 65 | 75 | 85 | 90 | 85 | 90 | [6 empty] | 20 | 25 | 40 | 45 | 45 | 60 | 70 | 70 | 85 | 90 | 100 | [6 empty] | 2019-12-02 09:45:51 | 2019-12-02 09:45:51 |  |  | 45 | 55 | 60 | 65 | 75 | 80 | 70 |  |  |  |  | 40 | 40 | 45 | 55 | 65 | 65 | 70 |  |  | 2019-12-02 09:45:51 | 2019-12-02 09:45:51 |  |  | 90 |  | 90 |  | 100 | 110 | 110 |  |  |  |  | 90 |  | 90 |  | 95 | 100 | 100 |  |  | 2019-12-02 09:45:51 | 2019-12-02 09:45:51 | [22 empty] | 67.5 | 60 | 62.5 | 55
12 | VP16 N2 | VP16 |  | N2 |  | 1949 | w | ja | 2010-01 | 2019-11-07 10:46:46 | 2019-11-07 10:46:46 | 40 | 40 | 45 | 50 | 45 | 45 | 45 | 60 | 60 | 55 | 70 | [6 empty] | 15 | 10 | 15 | 15 | 15 | 25 | 30 | 50 | 40 | 55 | 60 | [6 empty] | 2019-11-07 10:46:46 | 2019-11-07 10:46:46 |  |  | 45 | 50 | 45 | 45 | 45 | 55 | 55 |  |  |  |  | 15 | 15 | 15 | 25 | 30 | 45 | 35 |  |  | 2019-11-07 10:46:46 | 2019-11-07 10:46:46 |  |  | 115 |  | 115 |  | 115 |  | 105 |  |  |  |  | 90 |  | 85 |  | 90 |  | 90 |  |  | 2019-11-07 10:46:46 | 2019-11-07 10:46:46 | [22 empty] | 48.75 | 25 | 47.5 | 23.75
13 | VP17 NH | VP17 |  | NH |  | 1952 | m | nein |  | 2019-11-01 10:07:15 | 2019-11-01 10:07:15 | 10 | 10 | 0 | 5 | -5 | -5 | 0 | 5 | 0 | -5 | 10 | [6 empty] | 10 | 10 | 0 | 0 | -5 | 0 | 0 | 10 | 10 | 10 | 10 | [6 empty] | 2019-11-01 10:07:15 | 2019-11-01 10:07:15 |  |  | 0 | 5 | -5 | -5 | 0 | 5 | 0 |  |  |  |  | 0 | 0 | -5 | -5 | 0 | 10 | 0 |  |  | 2019-11-01 10:07:15 | 2019-11-01 10:07:15 |  |  | 70 |  | 70 |  | 70 |  | 70 |  |  |  |  | 75 |  | 65 |  | 70 |  | 70 |  |  | 2019-11-01 10:07:15 | 2019-11-01 10:07:15 | [22 empty] | -1.25 | 1.25 | -1.25 | -1.25
14 | VP23 N2 | VP23 |  | N2 |  | 1941 | m | ja |  | 2019-12-04 12:23:45 | 2019-12-04 12:23:45 | 20 | 25 | 25 | 35 | 35 | 35 | 40 | 40 | 45 | 65 | 70 | [6 empty] | 20 | 25 | 30 | 35 | 35 | 40 | 40 | 50 | 45 | 45 | 60 | [6 empty] | 2019-12-04 12:23:45 | 2019-12-04 12:23:45 |  |  | 25 | 35 | 30 | 35 | 40 | 35 | 35 |  |  |  |  | 30 | 30 | 30 | 40 | 40 | 50 | 45 |  |  | 2019-12-04 12:23:45 | 2019-12-04 12:23:45 |  |  | 75 |  | 75 |  | 80 |  | 80 |  |  |  |  | 75 |  | 75 |  | 75 |  | 80 |  |  | 2019-12-04 12:23:45 | 2019-12-04 12:23:45 | [22 empty] | 36.25 | 37.5 | 32.5 | 36.25
15 | VP37 N4 | VP37 |  | N4 |  | 1942 | w | ja | 2005-05 | 2019-12-11 12:18:51 | 2019-12-11 12:18:51 | 50 | 60 | 70 | 65 | 55 | 55 | 55 | 65 | 70 | 75 | 85 | [6 empty] | 45 | 50 | 70 | 95 | 90 | 95 | 95 | 95 | 100 | 100 | 90 | [6 empty] | 2019-12-11 12:18:51 | 2019-12-11 12:18:51 |  |  | 60 | 65 | 55 | 55 | 55 | 60 | 60 |  |  |  |  | 70 | 70 | 80 | 80 | 80 | 80 | 75 |  |  | 2019-12-11 12:18:51 | 2019-12-11 12:18:51 |  |  | 115 |  | 95 |  | 95 |  | 105 |  |  |  |  | 115 |  | 110 |  | 110 |  | 110 |  |  | 2019-12-11 12:18:51 | 2019-12-11 12:18:51 | [22 empty] | 62.5 | 88.75 | 57.5 | 76.25
16 | VP04 NH | VP04 |  | NH |  | 1959 | w |  |  | 2019-09-12 09:33:21 | 2019-09-12 09:33:21 | 5 | 5 | 10 | 5 | 0 | 5 | 5 | 10 | 5 | 10 | 10 | [6 empty] | 0 | 5 | 5 | 10 | 0 | 5 | 0 | 5 | 10 | 15 | 20 | [6 empty] | 2019-09-12 09:33:21 | 2019-09-12 09:33:21 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | -5 |  |  |  |  | -5 | 0 | 0 | 5 | 0 | -5 | 0 |  |  | 2019-09-12 09:33:21 | 2019-09-12 09:33:21 |  |  | 90 |  | 80 |  | 85 |  | 90 |  |  |  |  | 90 |  | 90 |  | 95 |  | 100 |  |  | 2019-09-12 09:33:21 | 2019-09-12 09:33:21 | [22 empty] | 5 | 3.75 | -1.25 | -1.25
17 | VP38 N4 | VP38 |  | N4 |  | 1943 | w | ja | 2013-08 | 2019-12-06 11:50:01 | 2019-12-06 11:50:01 | 25 | 25 | 35 | 50 | 70 | 65 | 65 | 70 | 80 | 90 | 100 | [6 empty] | 25 | 25 | 35 | 50 | 55 | 75 | 70 | 65 | 70 | 95 | 100 | [6 empty] | 2019-12-06 11:50:01 | 2019-12-06 11:50:01 |  |  | 30 | 50 | 70 | 65 | 65 | 70 | 70 |  |  |  |  | 35 | 50 | 55 | 75 | 70 | 65 | 70 |  |  | 2019-12-06 11:50:01 | 2019-12-06 11:50:01 |  |  | 95 |  | 95 |  | 105 | 115 | 105 |  |  |  |  | 95 |  | 95 |  | 100 | 115 | 110 |  |  | 2019-12-06 11:50:01 | 2019-12-06 11:50:01 | [22 empty] | 62.5 | 57.5 | 58.75 | 57.5
18 | VP29 N1 | VP29 |  | N1 |  | 1949 | m | nein |  | 2019-11-28 10:23:40 | 2019-11-28 10:23:40 | 15 | 10 | 10 | 5 | 0 | 0 | 5 | 15 | 30 | 30 | 55 | [6 empty] | 15 | 20 | 15 | 15 | 0 | 0 | 5 | 30 | 35 | 40 | 40 | [6 empty] | 2019-11-28 10:23:40 | 2019-11-28 10:23:40 |  |  | 10 | 5 | 0 | 0 | 0 | 10 | 25 |  |  |  |  | 10 | 10 | 0 | 0 | 5 | 10 | 20 |  |  | 2019-11-28 10:23:40 | 2019-11-28 10:23:40 |  |  | 80 |  | 85 |  | 85 | 90 | 105 |  |  |  |  | 100 |  | 95 |  | 100 | 100 | 105 |  |  | 2019-11-28 10:23:40 | 2019-11-28 10:23:40 | [22 empty] | 11.25 | 13.75 | 8.75 | 8.75
19 | VP08 N3 | VP08 |  | N3 |  | 1952 | m | ja | 2017-02 | 2019-06-13 09:45:42 | 2019-06-13 09:45:42 | 40 | 45 | 45 | 50 | 45 | 45 | 35 | 60 | 70 | 70 | 90 | [6 empty] | 45 | 45 | 50 | 55 | 55 | 55 | 55 | 75 | 75 | 75 | 90 | [6 empty] | 2019-06-13 09:45:42 | 2019-06-13 09:45:42 |  |  | 15 | 20 | 35 | 35 | 35 | 45 | 40 |  |  |  |  | 25 | 40 | 35 | 50 | 55 | 55 | 35 |  |  | 2019-06-13 09:45:42 | 2019-06-13 09:45:42 |  |  | 100 |  | 95 |  | 90 | 95 | 100 |  |  |  |  | 95 |  | 95 |  | 95 | 100 | 95 |  |  | 2019-06-13 09:45:42 | 2019-06-13 09:45:42 | [22 empty] | 48.75 | 58.75 | 31.25 | 37.5
20 | VP12 N4 | VP12 |  | N4 |  | 1940 | m | ja | 2004-03 | 2019-10-29 09:10:32 | 2019-10-29 09:10:32 | 35 | 45 | 50 | 55 | 55 | 50 | 60 | 75 | 75 | 80 | 95 | [6 empty] | 20 | 35 | 40 | 45 | 35 | 45 | 75 | 90 | 80 | 80 | 100 | [6 empty] | 2019-10-29 09:10:32 | 2019-10-29 09:10:32 |  |  | 45 | 45 | 50 | 50 | 55 | 70 | 70 |  |  |  |  | 40 | 40 | 30 | 35 | 60 | 80 | 75 |  |  | 2019-10-29 09:10:32 | 2019-10-29 09:10:32 |  |  | 105 |  | 105 |  | 110 |  | 110 |  |  |  |  | 100 |  | 105 |  | 115 |  | 110 |  |  | 2019-10-29 09:10:32 | 2019-10-29 09:10:32 | [22 empty] | 60 | 57.5 | 55 | 51.25
21 | VP03 N2 | VP03 |  | N2 |  | 1946 | m | ja | 2003-02 | 2019-10-30 10:44:29 | 2019-10-30 10:44:29 | 15 | 15 | 15 | 15 | 20 | 30 | 35 | 40 | 50 | 50 | 60 | [6 empty] | 55 | 65 | 65 | 65 | 65 | 60 | 55 | 60 | 65 | 65 | 75 | [6 empty] | 2019-10-30 10:44:29 | 2019-10-30 10:44:29 |  |  | 15 | 15 | 20 | 30 | 30 | 35 | 50 |  |  |  |  | 45 | 45 | 45 | 50 | 55 | 60 | 65 |  |  | 2019-10-30 10:44:29 | 2019-10-30 10:44:29 |  |  | 85 |  | 85 |  | 90 |  | 100 |  |  |  |  | 105 |  | 95 |  | 100 |  | 100 |  |  | 2019-10-30 10:44:29 | 2019-10-30 10:44:29 | [22 empty] | 30 | 62.5 | 28.75 | 52.5
22 | VP05 N2 | VP05 |  | N2 |  | 1945 | m | ja | 2014-11 | 2019-10-22 14:57:30 | 2019-10-22 14:57:30 | 15 | 20 | 30 | 35 | 35 | 45 | 40 | 30 | 35 | 50 | 55 | [6 empty] | 15 | 15 | 35 | 40 | 40 | 50 | 50 | 65 | 70 | 70 | 80 | [6 empty] | 2019-10-22 14:57:30 | 2019-10-22 14:57:30 |  |  | 25 | 30 | 30 | 40 | 35 | 25 | 25 |  |  |  |  | 25 | 35 | 30 | 40 | 45 | 45 | 50 |  |  | 2019-10-22 14:57:30 | 2019-10-22 14:57:30 |  |  | 115 |  | 100 |  | 90 | 90 | 90 |  |  |  |  | 105 |  | 90 |  | 90 | 90 | 95 |  |  | 2019-10-22 14:57:30 | 2019-10-22 14:57:30 | [22 empty] | 35 | 48.75 | 28.75 | 37.5
23 | VP33 N1 | VP33 |  | N1 |  | 1956 | w | nein |  | 2019-12-13 10:11:57 | 2019-12-13 10:11:57 | 10 | 10 | 5 | 5 | 0 | 5 | 15 | 25 | 40 | 55 | 60 | [6 empty] | 10 | 10 | 5 | 10 | 5 | 5 | 10 | 25 | 45 | 55 | 60 | [6 empty] | 2019-12-13 10:11:57 | 2019-12-13 10:11:57 |  |  | 5 | 5 | 0 | 5 | 15 | 15 | 40 |  |  |  |  | 5 | 10 | 0 | 5 | 10 | 15 | 30 |  |  | 2019-12-13 10:11:57 | 2019-12-13 10:11:57 |  |  | 90 |  | 90 |  | 85 |  | 85 |  |  |  |  | 90 |  | 90 |  | 85 |  | 85 |  |  | 2019-12-13 10:11:57 | 2019-12-13 10:11:57 | [22 empty] | 15 | 16.25 | 15 | 11.25
24 | VP22 N3 | VP22 |  | N3 |  | 1943 | m | ja | 2011-01 | 2019-11-25 10:07:25 | 2019-11-25 10:07:25 | 20 | 35 | 45 | 45 | 40 | 45 | 45 | 55 | 65 | 65 | 70 | [6 empty] | 15 | 25 | 45 | 55 | 55 | 50 | 50 | 65 | 65 | 70 | 80 | [6 empty] | 2019-11-25 10:07:25 | 2019-11-25 10:07:25 |  |  | 45 | 45 | 40 | 45 | 45 | 50 | 55 |  |  |  |  | 45 | 55 | 55 | 50 | 50 | 65 | 60 |  |  | 2019-11-25 10:07:25 | 2019-11-25 10:07:25 |  |  | 115 |  | 105 |  | 110 | 115 | 105 |  |  |  |  | 105 |  | 100 |  | 100 | 115 | 110 |  |  | 2019-11-25 10:07:25 | 2019-11-25 10:07:25 | [22 empty] | 48.75 | 53.75 | 46.25 | 52.5
25 | VP39 N4 | VP39 |  | N4 |  | 1940 | w | ja |  | 2019-12-04 | 2019-12-04 | 40 | 45 | 60 | 65 | 60 | 50 | 55 | 55 | 50 | 60 | 85 | [6 empty] | 55 | 60 | 65 | 65 | 65 | 60 | 60 | 55 | 55 | 70 | 85 | [78 empty] | 56.25 | 61.25
26 | VP15 NH | VP15 |  | NH |  | 1964 | w | nein |  | 2019-11-06 10:33:12 | 2019-11-06 10:33:12 | 15 | 15 | 5 | 5 | 0 | 0 | 0 | 0 | 0 | 10 | 10 | [6 empty] | 20 | 15 | 10 | 15 | 5 | 5 | 0 | 15 | 0 | 5 | 15 | [6 empty] | 2019-11-06 10:33:12 | 2019-11-06 10:33:12 | [22 empty] | 2019-11-06 10:33:12 | 2019-11-06 10:33:12 |  |  | 115 |  | 115 |  | 110 |  | 105 |  |  |  |  | 115 |  | 110 |  | 105 |  | 100 |  |  | 2019-11-06 10:33:12 | 2019-11-06 10:33:12 | [22 empty] | 1.25 | 3.75 | #DIV/0! | #DIV/0!
27 | VP21 NH | VP21 |  | NH |  | 1974 | m | ja |  | 2019-12-06 15:24:02 | 2019-12-06 15:24:02 | 10 | 20 | 30 | 30 | 30 | 35 | 45 | 70 | 85 | 95 | 100 | [6 empty] | 10 | 5 | 5 | 5 | 5 | 0 | 10 | 15 | 15 | 10 | 10 | [6 empty] | 2019-12-06 15:24:02 | 2019-12-06 15:24:02 |  |  | 30 | 30 | 30 | 35 | 50 | 50 | 55 |  |  |  |  | 5 | 5 | 5 | 0 | 5 | 5 | 5 |  |  | 2019-12-06 15:24:02 | 2019-12-06 15:24:02 |  |  | 105 |  | 105 |  | 100 |  | 105 |  |  |  |  | 100 |  | 95 |  | 95 |  | 90 |  |  | 2019-12-06 15:24:02 | 2019-12-06 15:24:02 | [22 empty] | 47.5 | 8.75 | 41.25 | 5
28 | VP09 N3 | VP09 |  | N3 |  | 1949 | w | ja | 2005-01 | 2019-10-24 09:07:25 | 2019-10-24 09:07:25 | 15 | 15 | 20 | 30 | 35 | 40 | 45 | 60 | 65 | 70 | 70 | [6 empty] | 45 | 35 | 45 | 50 | 50 | 55 | 60 | 70 | 75 | 85 | 90 | [6 empty] | 2019-10-24 09:07:25 | 2019-10-24 09:07:25 |  |  | 20 | 20 | 15 | 35 | 45 | 60 | 60 |  |  |  |  | 30 | 45 | 40 | 55 | 55 | 60 | 60 |  |  | 2019-10-24 09:07:25 | 2019-10-24 09:07:25 |  |  | 115 |  | 105 |  | 105 | 105 | 105 |  |  |  |  | 115 |  | 115 |  | 115 | 115 | 115 |  |  | 2019-10-24 09:07:25 | 2019-10-24 09:07:25 | [22 empty] | 41.25 | 57.5 | 35 | 46.25
29 | VP40 N3 | VP40 |  | N3 |  | 1943 | w | ja | 2015-06 | 2019-12-11 14:37:52 | 2019-12-11 14:37:52 | 15 | 15 | 30 | 35 | 40 | 45 | 45 | 55 | 55 | 70 | 90 | [6 empty] | 15 | 20 | 25 | 45 | 40 | 45 | 60 | 65 | 75 | 80 | 95 | [6 empty] | 2019-12-11 14:37:52 | 2019-12-11 14:37:52 |  |  | 30 | 35 | 40 | 45 | 45 | 50 | 55 |  |  |  |  | 25 | 45 | 40 | 40 | 60 | 65 | 75 |  |  | 2019-12-11 14:37:52 | 2019-12-11 14:37:52 |  |  | 85 |  | 85 |  | 90 | 115 | 105 |  |  |  |  | 90 |  | 90 |  | 95 | 105 | 105 |  |  | 2019-12-11 14:37:52 | 2019-12-11 14:37:52 | [22 empty] | 42.5 | 50 | 42.5 | 50
30 | VP41 N2 | VP41 |  | N2 |  | 1953 | w | ja | 2019-01 | 2019-12-10 10:06:08 | 2019-12-10 10:06:08 | 30 | 30 | 20 | 30 | 30 | 25 | 25 | 35 | 40 | 50 | 55 | [6 empty] | 35 | 30 | 20 | 30 | 30 | 30 | 25 | 35 | 50 | 55 | 60 | [6 empty] | 2019-12-10 10:06:08 | 2019-12-10 10:06:08 |  |  | 20 | 30 | 30 | 25 | 25 | 30 | 35 |  |  |  |  | 20 | 30 | 25 | 30 | 25 | 30 | 50 |  |  | 2019-12-10 10:06:08 | 2019-12-10 10:06:08 |  |  | 75 |  | 80 |  | 85 |  | 80 |  |  |  |  | 80 |  | 85 |  | 85 |  | 90 |  |  | 2019-12-10 10:06:08 | 2019-12-10 10:06:08 | [22 empty] | 28.75 | 31.25 | 27.5 | 30
31 | VP36 NH | VP36 |  | NH |  | 1970 | m |  |  | 2019-12-03 11:47:48 | 2019-12-03 11:47:48 | 10 | 5 | 10 | 5 | 0 | 0 | 0 | 5 | 5 | 0 | 10 | [6 empty] | 5 | 5 | 5 | 5 | 0 | 0 | 5 | 10 | 0 | 5 | 15 | [6 empty] | 2019-12-03 11:47:48 | 2019-12-03 11:47:48 |  |  | 10 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 5 | 0 |  |  | 2019-12-03 11:47:48 | 2019-12-03 11:47:48 |  |  | 90 |  | 90 |  | 90 |  | 85 |  |  |  |  | 85 |  | 90 |  | 95 |  | 90 |  |  | 2019-12-03 11:47:48 | 2019-12-03 11:47:48 | [22 empty] | 3.75 | 2.5 | 2.5 | 0
32 | VP14 NH | VP14 |  | NH |  | 1963 | m | nein |  | 2019-10-28 09:38:31 | 2019-10-28 09:38:31 | 5 | 10 | 15 | 15 | 5 | 0 | 0 | 5 | 5 | 20 | 40 | [6 empty] | 5 | 5 | 5 | 10 | 0 | 5 | 0 | 5 | 0 | 15 | 30 | [6 empty] | 2019-10-28 09:38:31 | 2019-10-28 09:38:31 |  |  | 10 | 10 | 5 | 0 | 0 | 5 | 5 |  |  |  |  | 5 | 10 | 0 | 0 | 0 | 0 | 0 |  |  | 2019-10-28 09:38:31 | 2019-10-28 09:38:31 |  |  | 90 |  | 85 |  | 85 |  | 85 |  |  |  |  | 90 |  | 80 |  | 85 |  | 85 |  |  | 2019-10-28 09:38:31 | 2019-10-28 09:38:31 | [22 empty] | 6.25 | 1.25 | 5 | 1.25
33 | VP18 N1 | VP18 |  | N1 |  | 1949 | m | nein |  | 2019-10-01 14:46:08 | 2019-10-01 14:46:08 | 5 | 5 | 10 | 10 | 10 | 20 | 30 | 25 | 30 | 35 | 45 | [6 empty] | 10 | 10 | 10 | 20 | 10 | 25 | 35 | 35 | 40 | 50 | 55 | [6 empty] | 2019-10-01 14:46:08 | 2019-10-01 14:46:08 |  |  | 10 | 10 | 10 | 20 | 30 | 25 | 25 |  |  |  |  | 10 | 20 | 10 | 25 | 35 | 35 | 40 |  |  | 2019-10-01 14:46:08 | 2019-10-01 14:46:08 |  |  | 85 |  | 85 |  | 85 |  | 90 |  |  |  |  | 90 |  | 90 |  | 90 |  | 90 |  |  | 2019-10-01 14:46:08 | 2019-10-01 14:46:08 | [22 empty] | 20 | 23.75 | 18.75 | 23.75
34 | VP20 N2 | VP20 |  | N2 |  | 1949 | m | nein |  | 2019-10-17 16:19:02 | 2019-10-17 16:19:02 | 20 | 25 | 25 | 30 | 25 | 30 | 35 | 45 | 45 | 45 | 50 | [6 empty] | 20 | 30 | 50 | 75 | 75 | 100 | 110 | 110 | 105 | [8 empty] | 2019-10-17 16:19:02 | 2019-10-17 16:19:02 |  |  | 20 | 25 | 20 | 30 | 35 | 45 | 40 |  |  |  |  | 50 | 65 | 60 | 75 | 80 |  |  |  |  | 2019-10-17 16:19:02 | 2019-10-17 16:19:02 |  |  | 90 |  | 90 |  | 90 |  | 90 |  |  |  |  | 105 |  | 115 | [6 empty] | 2019-10-17 16:19:02 | 2019-10-17 16:19:02 | [22 empty] | 32.5 | 85 | 28.75 | 63.3333
35 | VP24 N3 | VP24 |  | N3 |  | 1951 | m | ja | 2009-01 | 2020-01-06 09:39:36 | 2020-01-06 09:39:36 | 35 | 35 | 30 | 35 | 40 | 35 | 35 | 50 | 65 | 70 | 70 | [6 empty] | 30 | 35 | 30 | 40 | 35 | 50 | 60 | 80 | 85 | 85 | 80 | [6 empty] | 2020-01-06 09:39:36 | 2020-01-06 09:39:36 |  |  | 25 | 20 | 35 | 35 | 35 | 40 | 55 |  |  |  |  | 15 | 30 | 20 | 50 | 60 | 65 | 70 |  |  | 2020-01-06 09:39:36 | 2020-01-06 09:39:36 |  |  | 95 |  | 90 |  | 90 | 95 | 100 |  |  |  |  | 90 |  | 85 |  | 95 | 115 | 110 |  |  | 2020-01-06 09:39:36 | 2020-01-06 09:39:36 | [22 empty] | 42.5 | 52.5 | 37.5 | 41.25
36 | VP19 N1 | VP19 |  | N1 |  | 1961 | w | nein |  | 2019-09-26 09:58:50 | 2019-09-26 09:58:50 | 10 | 10 | 15 | 15 | 10 | 10 | 20 | 25 | 35 | 45 | 45 | [6 empty] | 10 | 10 | 15 | 15 | 15 | 25 | 35 | 25 | 35 | 50 | 50 | [6 empty] | 2019-09-26 09:58:50 | 2019-09-26 09:58:50 |  |  | 15 | 10 | 10 | 10 | 15 | 15 | 30 |  |  |  |  | 15 | 15 | 10 | 15 | 30 | 25 | 30 |  |  | 2019-09-26 09:58:50 | 2019-09-26 09:58:50 |  |  | 90 |  | 90 |  | 90 |  | 90 |  |  |  |  | 90 |  | 85 |  | 90 |  | 85 |  |  | 2019-09-26 09:58:50 | 2019-09-26 09:58:50 | [22 empty] | 20 | 25 | 17.5 | 21.25
37 | VP13 NH | VP13 |  | NH |  | 1951 | w | nein |  | 2019-10-25 10:51:57 | 2019-10-25 10:51:57 | 5 | 0 | 0 | 5 | 0 | -5 | 5 | 15 | 10 | 5 | 15 | [6 empty] | 5 | 0 | 0 | 0 | -5 | 0 | 0 | 20 | 10 | 5 | 30 | [6 empty] | 2019-10-25 10:51:57 | 2019-10-25 10:51:57 |  |  | 0 | 0 | 0 | -5 | 5 | 10 | 0 |  |  |  |  | 0 | 0 | -5 | 0 | 0 | 5 | 0 |  |  | 2019-10-25 10:51:57 | 2019-10-25 10:51:57 |  |  | 95 |  | 95 |  | 95 |  | 95 |  |  |  |  | 80 |  | 85 |  | 80 |  | 85 |  |  | 2019-10-25 10:51:57 | 2019-10-25 10:51:57 | [22 empty] | 3.75 | 1.25 | 1.25 | -1.25
38 | VP26 N3 | VP26 |  | N3 |  | 1956 | m |  |  | 2020-01-13 09:33:25 | 2020-01-13 09:33:25 | 25 | 30 | 35 | 45 |  | 50 | 55 | 55 | 60 | 60 | 70 | [6 empty] | 40 | 45 | 55 | 65 | 70 | 85 | 95 | 105 | 105 | 100 | 100 | [6 empty] | 2020-01-13 09:33:25 | 2020-01-13 09:33:25 |  |  | 20 | 35 | 45 | 50 | 55 | 55 | 50 |  |  |  |  | 30 | 35 | 45 | 80 | 60 | 60 | 75 |  |  | 2020-01-13 09:33:25 | 2020-01-13 09:33:25 |  |  | 105 |  | 100 |  | 100 |  | 105 |  |  |  |  | 115 |  | 115 |  | 115 |  |  |  |  | 2020-01-13 09:33:25 | 2020-01-13 09:33:25 | [22 empty] | 50 | 81.25 | 42.5 | 52.5
39 | VP30 N1 | VP30 |  | N1 |  | 1951 | m | nein |  | 2019-12-02 11:16:34 | 2019-12-02 11:16:34 | 15 | 10 | 5 | 10 | 10 | 20 | 25 | 30 | 35 | 40 | 55 | [6 empty] | 5 | 10 | 5 | 10 | 10 | 15 | 25 | 40 | 40 | 50 | 60 | [6 empty] | 2019-12-02 11:16:34 | 2019-12-02 11:16:34 |  |  | 5 | 10 | 10 | 20 | 25 | 30 | 30 |  |  |  |  | 5 | 10 | 10 | 15 | 25 | 40 | 35 |  |  | 2019-12-02 11:16:34 | 2019-12-02 11:16:34 |  |  | 90 |  | 85 |  | 85 |  | 85 |  |  |  |  | 80 |  | 80 |  | 80 |  | 90 |  |  | 2019-12-02 11:16:34 | 2019-12-02 11:16:34 | [22 empty] | 18.75 | 20 | 17.5 | 18.75
40 | VP01 N3 | VP01 |  | N3 |  | 1953 | w | ja | 2005-08 | 2019-10-15 15:33:21 | 2019-10-15 15:33:21 | 40 | 45 | 45 | 60 | 65 | 70 | 65 | 70 | 70 | 80 | 90 | [6 empty] | 20 | 30 | 30 | 35 | 40 | 50 | 55 | 55 | 55 | 60 | 80 | [6 empty] | 2019-10-15 15:33:21 | 2019-10-15 15:33:21 |  |  | 50 | 60 | 60 | 65 | 65 | 65 | 60 |  |  |  |  | 25 | 30 | 40 | 45 | 50 | 50 | 45 |  |  | 2019-10-15 15:33:21 | 2019-10-15 15:33:21 |  |  | 85 |  | 85 |  | 90 | 90 | 90 |  |  |  |  | 80 |  | 80 |  | 80 | 80 | 80 |  |  | 2019-10-15 15:33:21 | 2019-10-15 15:33:21 | [22 empty] | 61.25 | 45 | 58.75 | 40
41 | [117 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
42 | [117 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
43 | [117 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
44 | [117 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
45 | [117 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
46 | [117 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
47 | [117 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
48 | [117 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
49 | [117 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
50 | [117 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
51 | [117 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
52 | [117 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
53 | [117 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
54 | [117 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
55 | [117 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
56 | [117 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
57 | [117 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
58 | [117 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
59 | [117 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
60 | [117 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
61 | [117 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
62 | [117 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
63 | [117 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
64 | [117 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
65 | [117 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
66 | [117 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
67 | [117 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
68 | [117 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
69 | [117 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
70 | [117 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
71 | [117 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
72 | [117 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
73 | [117 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
74 | [117 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
75 | [117 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
76 | [117 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
77 | [117 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
78 | [117 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
79 | [117 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
80 | [117 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
81 | [117 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
82 | [117 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
83 | [117 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
84 | [117 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
85 | [117 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
86 | [117 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
87 | [117 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
88 | [117 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
89 | [117 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
90 | [117 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
91 | [117 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
92 | [117 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
93 | [117 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
94 | [117 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
95 | [117 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
96 | [117 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
97 | [117 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
98 | [117 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
99 | [117 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Formulas:
Hearing Threshold - Air Conduction (AC) = MIN([Hearing Threshold - Air Conduction (AC), row below]:K10008)
Hearing Threshold - Bone Conduction (BC) = MIN([Hearing Threshold - Bone Conduction (BC), row below]:AU10008)
Uncomfortable Loudness Level (UCL) = MIN([Uncomfortable Loudness Level (UCL), row below]:BS10008)
Most Comfortable Loudness Level (MCL) = MIN([Most Comfortable Loudness Level (MCL), row below]:CQ10008)