## Average Audiogram
Average AC Audiogram with Standard-Deviation & Target-Limits
| Right | [16 empty] | Left
| Frequency / [Hz] | [16 empty] | Frequency / [Hz]
| 125 | 250 | 500 | 750 | 1k | 1.5k | 2k | 3k | 4k | 6k | 8k | 9k | 10k | 11.2k | 12.5k | 14k | 16k | 125 | 250 | 500 | 750 | 1k | 1.5k | 2k | 3k | 4k | 6k | 8k | 9k | 10k | 11.2k | 12.5k | 14k | 16k
| 125 | 250 | 500 | 750 | 1000 | 1500 | 2000 | 3000 | 4000 | 6000 | 8000 | 9000 | 10000 | 11200 | 12500 | 14000 | 16000
| 3.8 | 7.8 | 11.8 | 14.1399 | 15.8 | 18.1399 | 19.8 | 22.1399 | 23.8 | 26.1399 | 27.8 | 28.4797 | 29.0877 | 29.7417 | 30.3754 | 31.0294 | 31.8 | 4.2 | 8.2 | 12.2 | 14.5399 | 16.2 | 18.5399 | 20.2 | 22.5399 | 24.2 | 26.5399 | 28.2 | 28.8797 | 29.4877 | 30.1417 | 30.7754 | 31.4294 | 32.2
| 3.8 | 7.8 | 11.8 | 14.1399 | 15.8 | 18.1399 | 19.8 | 22.1399 | 23.8 | 26.1399 | 27.8 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 4.2 | 8.2 | 12.2 | 14.5399 | 16.2 | 18.5399 | 20.2 | 22.5399 | 24.2 | 26.5399 | 28.2 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
Mean | 24.1875 | 26.625 | 29.875 | 35.125 | 36.0759 | 39.75 | 45.5625 | 53.125 | 58 | 64.0625 | 73.8125 | [6 empty] | 23.4375 | 25.5625 | 30.5 | 35.4375 | 35.6875 | 41.6875 | 47.375 | 57.3125 | 61 | 65.2532 | 73.9241
STD | 17.1819 | 19.3367 | 20.2356 | 20.5613 | 21.9946 | 19.8395 | 19.0102 | 18.1131 | 17.0925 | 15.7129 | 15.4314 | [6 empty] | 17.2765 | 19.1264 | 20.167 | 20.855 | 22.0578 | 22.1323 | 21.7578 | 19.1586 | 17.5816 | 15.3985 | 15.3938

## AC,BC,UCL Audiogram
Individual AC,BC,UCL Audiogram
| 11 |  |  | <-- Choose Subject here
Audiogram |  | Right | [16 empty] | Left | [16 empty] | Date
Hearing Thresh. |  | Frequency / [Hz] | [16 empty] | Frequency / [Hz]
11 | Subject | 125 | 250 | 500 | 750 | 1k | 1.5k | 2k | 3k | 4k | 6k | 8k | 9k | 10k | 11.2k | 12.5k | 14k | 16k | 125 | 250 | 500 | 750 | 1k | 1.5k | 2k | 3k | 4k | 6k | 8k | 9k | 10k | 11.2k | 12.5k | 14k | 16k | R | L
AC | VP25 | 20 | 35 | 45 | 55 | 60 | 65 | 70 | 80 | 85 | 80 | 85 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 20 | 35 | 40 | 45 | 50 | 60 | 70 | 70 | 85 | 80 | 100 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
BC | VP25 | #N/A | #N/A | 45 | 55 | 60 | 60 | 65 | 80 | 75 | #N/A | #N/A | [6 empty] | #N/A | #N/A | 40 | 45 | 50 | 55 | 70 | 65 | 75 | #N/A | #N/A | [6 empty] | #N/A | #N/A
UCL | VP25 | #N/A | 90 | 85 | #N/A | 90 | #N/A | 100 | 105 | 105 | #N/A | #N/A | [6 empty] | #N/A | 85 | 85 | #N/A | 85 | #N/A | 90 | 100 | 100 | #N/A | #N/A | [6 empty] | #N/A | #N/A
AC - BC: |  |  |  | 0 | 0 | 0 | 5 | 5 | 0 | 10 | [10 empty] | 0 | 0 | 0 | 5 | 0 | 5 | 10 | [9 empty] | 10 | <-- Limit for AC - BC
AC(R) - AC(L): |  | 0 | 0 | 5 | 10 | 10 | 5 | 0 | 10 | 0 | 0 | -15 | [24 empty] | 10 | <-- Limit for AC(R) - AC(L)
Limits in the figures above (and for average-figure):
|  | 125 | 250 | 500 | 750 | 1k | 1.5k | 2k | 3k | 4k | 6k | 8k | 9k | 10k | 11.2k | 12.5k | 14k | 16k
| Min | -10 | -10 | -10 | -10 | -10 | -10 | -10 | -10 | -10 | -10 | -10 | [7 empty] | <-- Specifiy Level-Limit (AC) here
| Target | [18 empty] | <-- Specifiy Target Level (AC) here
| Max | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | [7 empty] | <-- Specifiy Level-Limit (AC) here
Please leave alone the following block:
|  | 125 | 250 | 500 | 750 | 1k | 1.5k | 2k | 3k | 4k | 6k | 8k | 9k | 10k | 11.2k | 12.5k | 14k | 16k
|  | 125 | 250 | 500 | 750 | 1000 | 1500 | 2000 | 3000 | 4000 | 6000 | 8000 | 9000 | 10000 | 11200 | 12500 | 14000 | 16000
|  | 4 | 8 | 12 | 14.3399 | 16 | 18.3399 | 20 | 22.3399 | 24 | 26.3399 | 28 | 28.6797 | 29.2877 | 29.9417 | 30.5754 | 31.2294 | 32
|  | 4 | 8 | 12 | 14.3399 | 16 | 18.3399 | 20 | 22.3399 | 24 | 26.3399 | 28 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
Virtuelle Skala |  | 125 | 250 | 500 | 750 | 1000 | 1500 | 2000 | 3000 | 4000 | 6000 | [6 empty] | 8000
|  | 1000 | 2000 | 3000 | 3500 | 4000 | 4500 | 5000 | 5500 | 6000 | 6500 | [6 empty] | 7000

## Standard diagnostics
[10 empty] | Hearing Threshold - Air Conduction (AC) | [35 empty] | Hearing Threshold - Bone Conduction (BC) | [23 empty] | Uncomfortable Loudness Level (UCL) | [23 empty] | Most Comfortable Loudness Level (MCL) | [23 empty] | PTA (500 ¦ 1k ¦ 2k ¦ 4k)
[12 empty] | Right | [16 empty] | Left | [18 empty] | Right | [10 empty] | Left | [12 empty] | Right | [10 empty] | Left | [12 empty] | Right | [10 empty] | Left
[10 empty] | Date |  | Frequency / [Hz] | [16 empty] | Frequency / [Hz] | [16 empty] | Date |  | Frequency / [Hz] | [10 empty] | Frequency / [Hz] | [10 empty] | Date |  | Frequency / [Hz] | [10 empty] | Frequency / [Hz] | [10 empty] | Date |  | Frequency / [Hz] | [10 empty] | Frequency / [Hz] | [10 empty] | AC |  | BC
No | Subject | DFG-Code | W4A-ID | HZO-ID | Klarname | Jahrgang | Geschlecht | Versorgt | VersorgtSeit | Right | Left | 125 | 250 | 500 | 750 | 1k | 1.5k | 2k | 3k | 4k | 6k | 8k | 9k | 10k | 11.2k | 12.5k | 14k | 16k | 125 | 250 | 500 | 750 | 1k | 1.5k | 2k | 3k | 4k | 6k | 8k | 9k | 10k | 11.2k | 12.5k | 14 | 16k | Right | Left | 125 | 250 | 500 | 750 | 1k | 1.5k | 2k | 3k | 4k | 6k | 8k | 125 | 250 | 500 | 750 | 1k | 1.5k | 2k | 3k | 4k | 6k | 8k | Right | Left | 125 | 250 | 500 | 750 | 1k | 1.5k | 2k | 3k | 4k | 6k | 8k | 125 | 250 | 500 | 750 | 1k | 1.5k | 2k | 3k | 4k | 6k | 8k | Right | Left | 125 | 250 | 500 | 750 | 1k | 1.5k | 2k | 3k | 4k | 6k | 8k | 125 | 250 | 500 | 750 | 1k | 1.5k | 2k | 3k | 4k | 6k | 8k | Right | Left | Right | Left
[9 empty] | Mean / Max Date: | 0 | 0 | 24.1875 | 26.625 | 29.875 | 35.125 | 36.0759 | 39.75 | 45.5625 | 53.125 | 58 | 64.0625 | 73.8125 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 23.4375 | 25.5625 | 30.5 | 35.4375 | 35.6875 | 41.6875 | 47.375 | 57.3125 | 61 | 65.2532 | 73.9241 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | #DIV/0! | 6 | 25.375 | 30.5625 | 31.5625 | 36.9375 | 42.0886 | 47.2436 | 48.6709 | #DIV/0! | #DIV/0! | #DIV/0! | 7 | 25.875 | 30.443 | 31.25 | 38.375 | 43.3125 | 48.9873 | 50.1899 | #DIV/0! | #DIV/0! | 0 | 0 | #DIV/0! | 90 | 96.0127 | #DIV/0! | 95.1266 | #DIV/0! | 96.8987 | 100.3191 | 99.026 | #DIV/0! | #DIV/0! | #DIV/0! | 85 | 95.641 | #DIV/0! | 95.1923 | 115 | 97.3377 | 101.413 | 99.2 | #DIV/0! | #DIV/0! | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[9 empty] | Std.-Dev. / Min Date: | 0 | 0 | 17.1819 | 19.3367 | 20.2356 | 20.5613 | 21.9946 | 19.8395 | 19.0102 | 18.1131 | 17.0925 | 15.7129 | 15.4314 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 17.2765 | 19.1264 | 20.167 | 20.855 | 22.0578 | 22.1323 | 21.7578 | 19.1586 | 17.5816 | 15.3985 | 15.3938 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | #DIV/0! | 8.2158 | 18.7552 | 19.5194 | 21.1623 | 19.3157 | 18.1095 | 17.2387 | 14.951 | #DIV/0! | #DIV/0! | #DIV/0! | 7.5829 | 17.2615 | 18.6944 | 19.5762 | 20.2481 | 18.859 | 15.9402 | 15.3682 | #DIV/0! | #DIV/0! | 0 | 0 | #DIV/0! | #DIV/0! | 11.6679 | #DIV/0! | 10.6811 | #DIV/0! | 9.8157 | 9.3486 | 9.4604 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 10.7619 | #DIV/0! | 10.643 | #DIV/0! | 10.182 | 10.092 | 10.0014 | #DIV/0! | #DIV/0! | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
1 | VP78 |  |  |  | VP78 | 1950 | w | nein |  | 2020-09-11 11:11:09 | 2020-09-11 11:11:09 | 20 | 20 | 25 | 25 | 25 | 30 | 35 | 60 | 70 | 75 | 85 | [6 empty] | 15 | 15 | 20 | 25 | 25 | 35 | 45 | 65 | 70 | 80 | 85 | [6 empty] | 2020-09-11 11:11:09 | 2020-09-11 11:11:09 |  |  | 20 | 20 | 20 | 25 | 35 | 50 | 60 |  |  |  |  | 20 | 20 | 20 | 30 | 45 | 60 | 60 |  |  | 2020-09-11 11:11:09 | 2020-09-11 11:11:09 |  |  | 95 |  | 90 |  | 95 |  | 100 |  |  |  |  | 90 |  | 90 |  | 95 |  | 100 |  |  | 2020-09-11 11:11:09 | 2020-09-11 11:11:09 | [22 empty] | 38.75 | 40 | 33.75 | 36.25
2 | VP55 |  |  |  | VP55 | 1943 | m | ja | 2003-01 | 2020-07-30 10:05:07 | 2020-07-30 10:05:07 | 25 | 20 | 25 | 25 | 20 | 40 | 60 | 65 | 70 | 70 | 75 | [6 empty] | 15 | 15 | 25 | 30 | 30 | 40 | 55 | 70 | 70 | 70 | 70 | [6 empty] | 2020-07-30 10:05:07 | 2020-07-30 10:05:07 |  |  | 20 | 20 | 15 | 35 | 55 | 60 | 60 |  |  |  |  | 20 | 25 | 25 | 40 | 50 | 60 | 60 |  |  | 2020-07-30 10:05:07 | 2020-07-30 10:05:07 |  |  | 100 |  | 90 |  | 100 | 105 | 105 |  |  |  |  | 95 |  | 95 |  | 105 | 105 | 110 |  |  | 2020-07-30 10:05:07 | 2020-07-30 10:05:07 | [22 empty] | 43.75 | 45 | 37.5 | 38.75
3 | VP45 |  |  |  | VP45 | 1940 | w | ja | 1995-01 | 2020-08-10 15:36:13 | 2020-08-10 15:36:13 | 40 | 45 | 60 | 60 | 55 | 55 | 65 | 65 | 60 | 70 | 90 | [6 empty] | 50 | 55 | 65 | 65 | 60 | 60 | 60 | 65 | 60 | 70 | 85 | [6 empty] | 2020-08-10 15:36:13 | 2020-08-10 15:36:13 |  |  | 55 | 60 | 50 | 45 | 45 | 50 | 50 |  |  |  |  | 60 | 60 | 55 | 50 | 55 | 50 | 55 |  |  | 2020-08-10 15:36:13 | 2020-08-10 15:36:13 |  |  | 100 |  | 105 |  | 105 |  | 100 |  |  |  |  | 100 |  | 105 |  | 105 |  | 105 |  |  | 2020-08-10 15:36:13 | 2020-08-10 15:36:13 | [22 empty] | 60 | 61.25 | 50 | 56.25
4 | VP04 |  |  |  | VP04 | 1940 | m | ja | 2004-03 | 2019-10-29 09:10:32 | 2019-10-29 09:10:32 | 35 | 45 | 50 | 55 | 55 | 50 | 60 | 75 | 75 | 80 | 95 | [6 empty] | 20 | 35 | 40 | 45 | 35 | 45 | 75 | 90 | 80 | 80 | 100 | [6 empty] | 2019-10-29 09:10:32 | 2019-10-29 09:10:32 |  |  | 45 | 45 | 50 | 50 | 55 | 70 | 70 |  |  |  |  | 40 | 40 | 30 | 35 | 60 | 80 | 75 |  |  | 2019-10-29 09:10:32 | 2019-10-29 09:10:32 |  |  | 105 |  | 105 |  | 110 |  | 110 |  |  |  |  | 100 |  | 105 |  | 115 |  | 110 |  |  | 2019-10-29 09:10:32 | 2019-10-29 09:10:32 | [22 empty] | 60 | 57.5 | 55 | 51.25
5 | VP81 |  |  |  | VP81 | 1944 | w | ja | 2008-01 | 2020-09-14 11:30:59 | 2020-09-14 11:30:59 | 25 | 30 | 35 | 45 | 50 | 55 | 60 | 50 | 50 | 65 | 70 | [6 empty] | 30 | 30 | 35 | 45 | 55 | 60 | 55 | 55 | 55 | 65 | 75 | [6 empty] | 2020-09-14 11:30:59 | 2020-09-14 11:30:59 |  |  | 35 | 40 | 45 | 50 | 55 | 50 | 45 |  |  |  |  | 35 | 45 | 50 | 55 | 50 | 50 | 45 |  |  | 2020-09-14 11:30:59 | 2020-09-14 11:30:59 |  |  | 95 |  | 100 |  | 100 |  | 95 |  |  |  |  | 95 |  | 100 |  | 100 |  | 100 |  |  | 2020-09-14 11:30:59 | 2020-09-14 11:30:59 | [22 empty] | 48.75 | 50 | 45 | 45
6 | VP73 |  |  |  | VP73 | 1954 | w | ja | 1996-01 | 2020-09-04 09:08:16 | 2020-09-04 09:08:16 | 55 | 60 | 65 | 75 | 80 | 70 | 70 | 70 | 65 | 65 | 80 | [6 empty] | 50 | 50 | 60 | 70 | 75 | 75 | 75 | 70 | 70 | 70 | 85 | [6 empty] | 2020-09-04 09:08:16 | 2020-09-04 09:08:16 |  |  | 60 | 70 | 75 | 70 | 70 | 65 | 55 |  |  |  |  | 60 | 65 | 70 | 75 | 75 | 65 | 60 |  |  | 2020-09-04 09:08:16 | 2020-09-04 09:08:16 |  |  | 100 |  | 105 |  | 105 |  | 100 |  |  |  |  | 105 |  | 105 |  | 110 |  | 110 |  |  | 2020-09-04 09:08:16 | 2020-09-04 09:08:16 | [22 empty] | 70 | 70 | 65 | 66.25
7 | VP67 |  |  |  | VP67 | 1950 | m | ja | 2006-01 | 2020-09-02 13:35:14 | 2020-09-02 13:35:14 | 20 | 25 | 30 | 35 | 35 | 45 | 60 | 65 | 70 | 70 | 80 | [6 empty] | 15 | 20 | 25 | 35 | 30 | 35 | 50 | 65 | 60 | 65 | 65 | [6 empty] | 2020-09-02 13:35:14 | 2020-09-02 13:35:14 |  |  | 30 | 35 | 30 | 45 | 60 | 65 | 60 |  |  |  |  | 25 | 30 | 25 | 35 | 50 | 55 | 50 |  |  | 2020-09-02 13:35:14 | 2020-09-02 13:35:14 |  |  | 110 |  | 110 |  | 110 |  | 115 |  |  |  |  | 105 |  | 105 |  | 105 |  | 100 |  |  | 2020-09-02 13:35:14 | 2020-09-02 13:35:14 | [22 empty] | 48.75 | 41.25 | 45 | 37.5
8 | VP66 |  |  |  | VP66 | 1942 | w | ja | 2009-10 | 2020-08-31 09:45:45 | 2020-08-31 09:45:45 | 35 | 45 | 45 | 45 | 45 | 45 | 50 | 45 | 45 | 60 | 70 | [6 empty] | 15 | 30 | 40 | 45 | 45 | 45 | 50 | 45 | 60 | 60 | 75 | [6 empty] | 2020-08-31 09:45:45 | 2020-08-31 09:45:45 |  |  | 40 | 45 | 45 | 45 | 45 | 40 | 40 |  |  |  |  | 40 | 40 | 40 | 45 | 45 | 45 | 50 |  |  | 2020-08-31 09:45:45 | 2020-08-31 09:45:45 |  |  | 85 |  | 85 |  | 90 | 90 | 90 |  |  |  |  | 85 |  | 85 |  | 90 | 95 | 95 |  |  | 2020-08-31 09:45:45 | 2020-08-31 09:45:45 | [22 empty] | 46.25 | 48.75 | 42.5 | 43.75
9 | VP24 |  |  |  | VP24 | 1961 | m | ja | 1996-01 | 2020-08-11 11:29:12 | 2020-08-11 11:29:12 | 70 | 70 | 75 | 70 | 75 | 80 | 75 | 75 | 70 | 60 | 70 | [6 empty] | 80 | 90 | 85 | 80 | 75 | 75 | 65 | 65 | 65 | 60 | 65 | [6 empty] | 2020-08-11 11:29:12 | 2020-08-11 11:29:12 |  |  | 60 | 70 | 70 | 70 | 70 | 65 | 70 |  |  |  |  | 65 | 70 | 70 | 70 | 65 | 65 | 60 |  |  | 2020-08-11 11:29:12 | 2020-08-11 11:29:12 |  |  | 105 |  | 105 |  | 105 | 105 | 105 |  |  |  |  | 105 |  | 105 |  | 100 | 100 | 105 |  |  | 2020-08-11 11:29:12 | 2020-08-11 11:29:12 | [22 empty] | 73.75 | 72.5 | 67.5 | 65
10 | VP74 |  |  |  | VP74 | 1950 | w | ja | 2017-05 | 2020-09-08 10:24:09 | 2020-09-08 10:24:09 | 25 | 30 | 40 | 45 | 50 | 50 | 55 | 60 | 55 | 50 | 55 | [6 empty] | 15 | 25 | 30 | 35 | 45 | 45 | 45 | 50 | 45 | 45 | 55 | [6 empty] | 2020-09-08 10:24:09 | 2020-09-08 10:24:09 |  |  | 30 | 35 | 45 | 50 | 55 | 50 | 45 |  |  |  |  | 25 | 30 | 40 | 50 | 45 | 40 | 45 |  |  | 2020-09-08 10:24:09 | 2020-09-08 10:24:09 |  |  | 95 |  | 100 |  | 90 |  | 90 |  |  |  |  | 95 |  | 90 |  | 90 |  | 90 |  |  | 2020-09-08 10:24:09 | 2020-09-08 10:24:09 | [22 empty] | 50 | 41.25 | 43.75 | 38.75
11 | VP25 |  |  |  | VP25 | 1946 | m | ja | 2004-11 | 2020-08-17 09:58:35 | 2020-08-17 09:58:35 | 20 | 35 | 45 | 55 | 60 | 65 | 70 | 80 | 85 | 80 | 85 | [6 empty] | 20 | 35 | 40 | 45 | 50 | 60 | 70 | 70 | 85 | 80 | 100 | [6 empty] | 2020-08-17 09:58:35 | 2020-08-17 09:58:35 |  |  | 45 | 55 | 60 | 60 | 65 | 80 | 75 |  |  |  |  | 40 | 45 | 50 | 55 | 70 | 65 | 75 |  |  | 2020-08-17 09:58:35 | 2020-08-17 09:58:35 |  | 90 | 85 |  | 90 |  | 100 | 105 | 105 |  |  |  | 85 | 85 |  | 85 |  | 90 | 100 | 100 |  |  | 2020-08-17 09:58:35 | 2020-08-17 09:58:35 | [22 empty] | 65 | 61.25 | 61.25 | 58.75
12 | VP09 |  |  |  | VP09 | 1949 | w | ja | 2005-01 | 2019-10-24 09:07:25 | 2019-10-24 09:07:25 | 15 | 15 | 20 | 30 | 35 | 40 | 45 | 60 | 65 | 70 | 70 | [6 empty] | 45 | 35 | 45 | 50 | 50 | 55 | 60 | 70 | 75 | 85 | 90 | [6 empty] | 2019-10-24 09:07:25 | 2019-10-24 09:07:25 |  |  | 20 | 20 | 15 | 35 | 45 | 60 | 60 |  |  |  |  | 30 | 45 | 40 | 55 | 55 | 60 | 60 |  |  | 2019-10-24 09:07:25 | 2019-10-24 09:07:25 |  |  | 115 |  | 105 |  | 105 | 105 | 105 |  |  |  |  | 115 |  | 115 |  | 115 | 115 | 115 |  |  | 2019-10-24 09:07:25 | 2019-10-24 09:07:25 | [22 empty] | 41.25 | 57.5 | 35 | 46.25
13 | VP65 |  |  |  | VP65 | 1945 | m | ja | 2008-06 | 2020-08-24 13:45:32 | 2020-08-24 13:45:32 | 15 | 30 | 35 | 45 | 40 | 45 | 60 | 80 | 75 | 75 | 80 | [6 empty] | 15 | 30 | 40 | 50 | 45 | 50 | 65 | 80 | 85 | 85 | 90 | [6 empty] | 2020-08-24 13:45:32 | 2020-08-24 13:45:32 |  |  | 35 | 40 | 40 | 45 | 60 | 75 | 70 |  |  |  |  | 35 | 50 | 50 | 50 | 65 | 75 | 70 |  |  | 2020-08-24 13:45:32 | 2020-08-24 13:45:32 |  |  | 95 |  | 95 |  | 100 | 105 | 110 |  |  |  |  | 100 |  | 95 |  | 105 |  | 110 |  |  | 2020-08-24 13:45:32 | 2020-08-24 13:45:32 | [22 empty] | 52.5 | 58.75 | 51.25 | 55
14 | VP34 |  |  |  | VP34 | 1951 | m | ja | 2009-01 | 2020-07-29 09:26:33 | 2020-07-29 09:26:33 | 30 | 35 | 30 | 35 | 40 | 40 | 45 | 50 | 65 | 75 | 75 | [6 empty] | 25 | 25 | 25 | 35 | 30 | 50 | 50 | 80 | 85 | 80 | 80 | [6 empty] | 2020-07-29 09:26:33 | 2020-07-29 09:26:33 |  |  | 15 | 30 | 25 | 40 | 45 | 35 | 45 |  |  |  |  | 15 | 25 | 30 | 50 | 45 | 70 | 70 |  |  | 2020-07-29 09:26:33 | 2020-07-29 09:26:33 |  |  | 90 |  | 80 |  | 85 | 90 | 100 |  |  |  |  | 85 |  | 90 |  | 95 | 110 | 110 |  |  | 2020-07-29 09:26:33 | 2020-07-29 09:26:33 | [22 empty] | 45 | 47.5 | 32.5 | 40
15 | VP08 |  |  |  | VP08 | 1952 | m | ja | 2017-02 | 2019-06-13 09:45:42 | 2019-06-13 09:45:42 | 40 | 45 | 45 | 50 | 45 | 45 | 35 | 60 | 70 | 70 | 90 | [6 empty] | 45 | 45 | 50 | 55 | 55 | 55 | 55 | 75 | 75 | 75 | 90 | [6 empty] | 2019-06-13 09:45:42 | 2019-06-13 09:45:42 |  |  | 15 | 20 | 35 | 35 | 35 | 45 | 40 |  |  |  |  | 25 | 40 | 35 | 50 | 55 | 55 | 35 |  |  | 2019-06-13 09:45:42 | 2019-06-13 09:45:42 |  |  | 100 |  | 95 |  | 90 | 95 | 100 |  |  |  |  | 95 |  | 95 |  | 95 | 100 | 95 |  |  | 2019-06-13 09:45:42 | 2019-06-13 09:45:42 | [22 empty] | 48.75 | 58.75 | 31.25 | 37.5
16 | VP01 |  |  |  | VP01 | 1953 | w | ja | 2005-08 | 2020-09-04 12:10:32 | 2020-09-04 12:10:32 | 40 | 45 | 50 | 60 | 65 | 70 | 65 | 60 | 65 | 80 | 85 | [6 empty] | 15 | 20 | 30 | 30 | 40 | 50 | 55 | 45 | 50 | 55 | 70 | [6 empty] | 2020-09-04 12:10:32 | 2020-09-04 12:10:32 |  |  | 45 | 50 | 65 | 65 | 65 | 60 | 60 |  |  |  |  | 30 | 25 | 35 | 50 | 55 | 40 | 35 |  |  | 2020-09-04 12:10:32 | 2020-09-04 12:10:32 |  |  | 85 |  | 90 |  | 90 | 90 | 90 |  |  |  |  | 80 |  | 80 |  | 80 | 80 | 80 |  |  | 2020-09-04 12:10:32 | 2020-09-04 12:10:32 | [22 empty] | 61.25 | 43.75 | 58.75 | 38.75
17 | VP22 |  |  |  | VP22 | 1957 | w | ja | 1988-01 | 2019-12-11 10:42:09 | 2019-12-11 10:42:09 | 55 | 55 | 60 | 70 | 75 | 70 | 75 | 65 | 70 | 85 | 95 | [6 empty] | 20 | 25 | 40 | 50 | 55 | 60 | 65 | 70 | 70 | 70 | 75 | [6 empty] | 2019-12-11 10:42:09 | 2019-12-11 10:42:09 |  |  | 55 | 60 | 65 | 70 | 70 | 70 | 65 |  |  |  |  | 25 | 40 | 50 | 55 | 65 | 60 | 70 |  |  | 2019-12-11 10:42:09 | 2019-12-11 10:42:09 |  |  | 115 |  | 120 |  | 110 | 105 | 115 |  |  |  |  | 110 |  | 95 |  | 95 | 95 | 100 |  |  | 2019-12-11 10:42:09 | 2019-12-11 10:42:09 | [22 empty] | 70 | 57.5 | 63.75 | 52.5
18 | VP43 |  |  |  | VP43 | 1968 | w | ja | 1998-01 | 2020-08-10 14:18:01 | 2020-08-10 14:18:01 | 15 | 30 | 40 | 55 | 60 | 60 | 65 | 55 | 55 | 55 | 70 | [6 empty] | 15 | 30 | 40 | 45 | 55 | 60 | 60 | 60 | 55 | 55 | 70 | [6 empty] | 2020-08-10 14:18:01 | 2020-08-10 14:18:01 |  |  | 40 | 45 | 50 | 55 | 60 | 50 | 45 |  |  |  |  | 35 | 40 | 50 | 55 | 55 | 55 | 45 |  |  | 2020-08-10 14:18:01 | 2020-08-10 14:18:01 |  |  | 95 |  | 95 |  | 105 | 100 | 100 |  |  |  |  | 95 |  | 95 |  | 100 | 95 | 95 |  |  | 2020-08-10 14:18:01 | 2020-08-10 14:18:01 | [22 empty] | 55 | 52.5 | 48.75 | 46.25
19 | VP64 |  |  |  | VP64 | 1946 | w | ja | 2005-01 | 2020-08-20 09:16:07 | 2020-08-20 09:16:07 | 20 | 30 | 40 | 55 | 60 | 50 | 60 | 50 | 55 | 65 | 80 | [6 empty] | 10 | 10 | 25 | 50 | 55 | 60 | 55 | 50 | 50 | 55 | 65 | [6 empty] | 2020-08-20 09:16:07 | 2020-08-20 09:16:07 |  |  | 35 | 50 | 55 | 50 | 55 | 50 | 50 |  |  |  |  | 35 | 50 | 55 | 60 | 55 | 50 | 50 |  |  | 2020-08-20 09:16:07 | 2020-08-20 09:16:07 |  |  | 105 |  | 100 |  | 100 |  | 100 |  |  |  |  | 100 |  | 95 |  | 95 |  | 95 |  |  | 2020-08-20 09:16:07 | 2020-08-20 09:16:07 | [22 empty] | 53.75 | 46.25 | 48.75 | 48.75
20 | VP02 |  |  |  | VP02 | 1949 | m | nein |  | 2019-10-17 16:19:02 | 2019-10-17 16:19:02 | 20 | 25 | 25 | 30 | 25 | 30 | 35 | 45 | 45 | 45 | 50 | [6 empty] | 20 | 30 | 50 | 75 | 75 | 100 | 110 | 110 | 105 | [8 empty] | 2019-10-17 16:19:02 | 2019-10-17 16:19:02 |  |  | 20 | 25 | 20 | 30 | 35 | 45 | 40 |  |  |  |  | 50 | 65 | 60 | 75 | 80 |  |  |  |  | 2019-10-17 16:19:02 | 2019-10-17 16:19:02 |  |  | 90 |  | 90 |  | 90 |  | 90 |  |  |  |  | 105 |  | 115 | [6 empty] | 2019-10-17 16:19:02 | 2019-10-17 16:19:02 | [22 empty] | 32.5 | 85 | 28.75 | 63.3333
21 | VP10 |  |  |  | VP10 | 1941 | m | ja | 2007-10 | 2019-06-27 13:21:43 | 2019-06-27 13:21:43 | 30 | 35 | 35 | 45 | 45 | 55 | 70 | 70 | 75 | 90 | 90 | [6 empty] | 30 | 35 | 40 | 50 | 55 | 55 | 70 | 80 | 90 | 90 | 100 | [6 empty] | 2019-06-27 13:21:43 | 2019-06-27 13:21:43 |  |  | 30 | 40 | 45 | 55 | 65 | 70 | 65 |  |  |  |  | 35 | 40 | 45 | 55 | 65 | 70 | 75 |  |  | 2019-06-27 13:21:43 | 2019-06-27 13:21:43 |  |  | 110 |  | 105 |  | 110 | 110 | 115 |  |  |  |  | 115 |  | 115 |  | 110 | 115 | 115 |  |  | 2019-06-27 13:21:43 | 2019-06-27 13:21:43 | [22 empty] | 56.25 | 63.75 | 51.25 | 55
22 | VP03 |  |  |  | VP03 | 1943 | m | ja | 2011-01 | 2019-11-25 10:07:25 | 2019-11-25 10:07:25 | 20 | 35 | 45 | 45 | 40 | 45 | 45 | 55 | 65 | 65 | 70 | [6 empty] | 15 | 25 | 45 | 55 | 55 | 50 | 50 | 65 | 65 | 70 | 80 | [6 empty] | 2019-11-25 10:07:25 | 2019-11-25 10:07:25 |  |  | 45 | 45 | 40 | 45 | 45 | 50 | 55 |  |  |  |  | 45 | 55 | 55 | 50 | 50 | 65 | 60 |  |  | 2019-11-25 10:07:25 | 2019-11-25 10:07:25 |  |  | 115 |  | 105 |  | 110 | 115 | 105 |  |  |  |  | 105 |  | 100 |  | 100 | 115 | 110 |  |  | 2019-11-25 10:07:25 | 2019-11-25 10:07:25 | [22 empty] | 48.75 | 53.75 | 46.25 | 52.5
23 | VP72 |  |  |  | VP72 | 1959 | m | ja | 2003-01 | 2020-09-09 11:50:03 | 2020-09-09 11:50:03 | 35 | 55 | 60 | 60 | 65 | 60 | 60 | 60 | 55 | 65 | 65 | [6 empty] | 40 | 50 | 55 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 65 | [6 empty] | 2020-09-09 11:50:03 | 2020-09-09 11:50:03 |  |  | 50 | 60 | 60 | 60 | 60 | 60 | 50 |  |  |  |  | 50 | 55 | 55 | 60 | 60 | 60 | 55 |  |  | 2020-09-09 11:50:03 | 2020-09-09 11:50:03 |  |  | 105 |  | 105 |  | 105 |  | 110 |  |  |  |  | 100 |  | 105 |  | 105 |  | 105 |  |  | 2020-09-09 11:50:03 | 2020-09-09 11:50:03 | [22 empty] | 60 | 58.75 | 55 | 55
24 | VP80 |  |  |  | VP80 | 1952 | w | ja | 2005-12 | 2020-09-09 14:52:38 | 2020-09-09 14:52:38 | 15 | 10 | 5 | 10 | 10 | 15 | 35 | 60 | 60 | 65 | 75 | [6 empty] | 15 | 15 | 15 | 10 | 10 | 15 | 25 | 60 | 65 | 70 | 80 | [6 empty] | 2020-09-09 14:52:38 | 2020-09-09 14:52:38 |  |  | 0 | 5 | 5 | 15 | 25 | 50 | 50 |  |  |  |  | 10 | 5 | 10 | 10 | 20 | 50 | 55 |  |  | 2020-09-09 14:52:38 | 2020-09-09 14:52:38 |  |  | 90 |  | 90 |  | 90 |  | 95 |  |  |  |  | 90 |  | 85 |  | 90 |  | 95 |  |  | 2020-09-09 14:52:38 | 2020-09-09 14:52:38 | [22 empty] | 27.5 | 28.75 | 20 | 23.75
25 | VP56 |  |  |  | VP56 | 1969 | w | nein |  | 2018-10-11 11:40:08 | 2018-10-11 11:40:08 | 10 | 10 | 10 | 15 | 15 | 10 | 20 | 25 | 30 | 40 | 45 | [6 empty] | 5 | 5 | 5 | 10 | 10 | 5 | 15 | 30 | 35 | 45 | 40 | [6 empty] | 2018-10-11 11:40:08 | 2018-10-11 11:40:08 |  |  | 10 | 10 | 15 | 10 | 15 | 20 | 25 |  |  |  |  | 5 | 10 | 5 | 5 | 15 | 20 | 25 |  |  | 2018-10-11 11:40:08 | 2018-10-11 11:40:08 |  |  | 85 |  | 85 |  | 90 |  | 90 |  |  |  |  | 80 |  | 80 |  | 85 |  | 85 |  |  | 2018-10-11 11:40:08 | 2018-10-11 11:40:08 | [22 empty] | 18.75 | 16.25 | 16.25 | 12.5
26 | VP40 |  |  |  | VP40 | 1945 | w | ja | 2002-06 | 2020-08-13 13:03:13 | 2020-08-13 13:03:13 | 70 | 75 | 75 | 80 | 80 | 65 | 65 | 70 | 70 | 80 | 105 | [6 empty] | 60 | 65 | 65 | 65 | 65 | 65 | 65 | 60 | 60 | 65 | 100 | [6 empty] | 2020-08-13 13:03:13 | 2020-08-13 13:03:13 |  |  | 65 | 70 | 70 | 60 | 60 | 65 | 60 |  |  |  |  | 65 | 60 | 60 | 60 | 60 | 55 | 50 |  |  | 2020-08-13 13:03:13 | 2020-08-13 13:03:13 |  |  | 115 |  | 120 |  | 115 | 115 | 115 |  |  |  |  | 110 |  | 105 |  | 115 | 115 | 115 |  |  | 2020-08-13 13:03:13 | 2020-08-13 13:03:13 | [22 empty] | 72.5 | 63.75 | 63.75 | 58.75
27 | VP54 |  |  |  | VP54 | 1946 | w | ja |  | 2020-08-24 11:56:51 | 2020-08-24 11:56:51 | 10 | 10 | 20 | 30 | 30 | 45 | 55 | 60 | 70 | 70 | 85 | [6 empty] | 10 | 10 | 20 | 30 | 30 | 45 | 55 | 60 | 70 | 85 | 95 | [6 empty] | 2020-08-24 11:56:51 | 2020-08-24 11:56:51 |  |  | -5 | 10 | 10 | 35 | 45 | 55 | 60 |  |  |  |  | 15 | 15 | 20 | 35 | 40 | 55 | 45 |  |  | 2020-08-24 11:56:51 | 2020-08-24 11:56:51 |  |  | 85 |  | 85 |  | 95 | 100 | 105 |  |  |  |  | 95 |  | 90 |  | 95 | 95 | 100 |  |  | 2020-08-24 11:56:51 | 2020-08-24 11:56:51 | [22 empty] | 43.75 | 43.75 | 27.5 | 30
28 | VP76 |  |  |  | VP76 | 1941 | w | ja | 2010-01 | 2020-09-14 10:12:33 | 2020-09-14 10:12:33 | 45 | 50 | 45 | 50 | 50 | 50 | 60 | 60 | 65 | 80 | 95 | [6 empty] | 40 | 40 | 45 | 45 | 45 | 50 | 50 | 45 | 40 | 55 | 65 | [6 empty] | 2020-09-14 10:12:33 | 2020-09-14 10:12:33 |  |  | 45 | 45 | 45 | 45 | 55 | 55 | 50 |  |  |  |  | 45 | 45 | 45 | 50 | 45 | 40 | 35 |  |  | 2020-09-14 10:12:33 | 2020-09-14 10:12:33 |  |  | 100 |  | 100 |  | 100 |  | 100 |  |  |  |  | 95 |  | 95 |  | 100 |  | 90 |  |  | 2020-09-14 10:12:33 | 2020-09-14 10:12:33 | [22 empty] | 55 | 45 | 48.75 | 42.5
29 | VP68 |  |  |  | VP68 | 1949 | w | ja |  | 2020-08-25 10:40:23 | 2020-08-25 10:40:23 | 10 | 20 | 20 | 25 | 20 | 30 | 30 | 30 | 40 | 50 | 60 | [6 empty] | 5 | 5 | 10 | 15 | 15 | 20 | 25 | 40 | 30 | 60 | 65 | [6 empty] | 2020-08-25 10:40:23 | 2020-08-25 10:40:23 |  | 15 | 20 | 20 | 10 | 20 | 30 | 25 | 30 |  |  |  | -5 | 0 | 5 | 5 | 15 | 20 | 30 | 20 |  |  | 2020-08-25 10:40:23 | 2020-08-25 10:40:23 |  |  | 80 |  | 80 |  | 85 | 85 | 85 |  |  |  |  | 90 |  | 90 |  | 90 | 95 | 95 |  |  | 2020-08-25 10:40:23 | 2020-08-25 10:40:23 | [22 empty] | 27.5 | 20 | 22.5 | 11.25
30 | VP59 |  |  |  | VP59 | 1943 | w | nein |  | 2020-08-24 09:36:34 | 2020-08-24 09:36:34 | 15 | 5 | 15 | 30 | 30 | 35 | 45 | 45 | 45 | 55 | 70 | [6 empty] | 10 | 10 | 15 | 25 | 30 | 35 | 40 | 40 | 45 | 50 | 70 | [6 empty] | 2020-08-24 09:36:34 | 2020-08-24 09:36:34 |  | 0 | 10 | 30 | 30 | 35 | 40 | 40 | 40 |  |  |  | 10 | 15 | 25 | 25 | 35 | 40 | 40 | 40 |  |  | 2020-08-24 09:36:34 | 2020-08-24 09:36:34 |  |  | 105 |  | 90 |  | 90 | 90 | 90 |  |  |  |  | 100 |  | 85 |  | 90 | 85 | 95 |  |  | 2020-08-24 09:36:34 | 2020-08-24 09:36:34 | [22 empty] | 33.75 | 32.5 | 30 | 30
31 | VP58 |  |  |  | VP58 | 1941 | w | nein |  | 2020-08-17 09:00:04 | 2020-08-17 09:00:04 | 15 | 5 | 5 | 10 | 15 | 25 | 40 | 50 | 60 | 75 | 80 | [6 empty] | 15 | 15 | 10 | 10 | 10 | 20 | 20 | 40 | 60 | 70 | 80 | [6 empty] | 2020-08-17 09:00:04 | 2020-08-17 09:00:04 |  | 0 | 5 | 5 | 10 | 20 | 35 | 40 | 50 |  |  |  | 10 | 10 | 5 | 5 | 15 | 15 | 35 | 50 |  |  | 2020-08-17 09:00:04 | 2020-08-17 09:00:04 |  |  | 115 |  | 110 |  | 115 | 115 | 115 |  |  |  |  | 115 |  | 120 |  | 115 | 115 | 115 |  |  | 2020-08-17 09:00:04 | 2020-08-17 09:00:04 | [22 empty] | 30 | 25 | 25 | 20
32 | VP79 |  |  |  | VP79 | 1947 | m |  |  | 2020-09-11 12:11:07 | 2020-09-11 12:11:07 | 15 | 10 | 5 | 10 | 10 | 20 | 15 | 30 | 35 | 45 | 70 | [6 empty] | 15 | 10 | 5 | 15 | 20 | 35 | 30 | 45 | 55 | 70 | 80 | [6 empty] | 2020-09-11 12:11:07 | 2020-09-11 12:11:07 |  |  | 5 | 10 | 10 | 20 | 15 | 25 | 35 |  |  |  |  | 5 | 15 | 15 | 30 | 25 | 35 | 45 |  |  | 2020-09-11 12:11:07 | 2020-09-11 12:11:07 |  |  | 110 |  | 100 |  | 105 |  | 105 |  |  |  |  | 95 |  | 95 |  | 105 |  | 110 |  |  | 2020-09-11 12:11:07 | 2020-09-11 12:11:07 | [22 empty] | 16.25 | 27.5 | 16.25 | 22.5
33 | VP14 |  |  |  | VP14 | 1949 | m | nein |  | 2019-11-28 10:23:40 | 2019-11-28 10:23:40 | 15 | 10 | 10 | 5 | 0 | 0 | 5 | 15 | 30 | 30 | 55 | [6 empty] | 15 | 20 | 15 | 15 | 0 | 0 | 5 | 30 | 35 | 40 | 40 | [6 empty] | 2019-11-28 10:23:40 | 2019-11-28 10:23:40 |  |  | 10 | 5 | 0 | 0 | 0 | 10 | 25 |  |  |  |  | 10 | 10 | 0 | 0 | 5 | 10 | 20 |  |  | 2019-11-28 10:23:40 | 2019-11-28 10:23:40 |  |  | 80 |  | 85 |  | 85 | 90 | 105 |  |  |  |  | 100 |  | 95 |  | 100 | 100 | 105 |  |  | 2019-11-28 10:23:40 | 2019-11-28 10:23:40 | [22 empty] | 11.25 | 13.75 | 8.75 | 8.75
34 | VP36 |  |  |  | VP36 | 1946 | m | nein |  | 2020-08-06 09:02:47 | 2020-08-06 09:02:47 | 30 | 20 | 10 | 15 | 5 | 10 | 30 | 55 | 75 | 70 | 75 | [6 empty] | 20 | 15 | 10 | 10 | 5 | 5 | 15 | 50 | 60 | 65 | 75 | [6 empty] | 2020-08-06 09:02:47 | 2020-08-06 09:02:47 |  |  | 10 | 15 | 5 | 10 | 30 | 50 | 50 |  |  |  |  | 10 | 5 | 5 | 5 | 15 | 45 | 45 |  |  | 2020-08-06 09:02:47 | 2020-08-06 09:02:47 |  |  | 95 |  | 90 |  | 100 | 95 | 100 |  |  |  |  | 100 |  | 90 |  | 100 | 100 | 95 |  |  | 2020-08-06 09:02:47 | 2020-08-06 09:02:47 | [22 empty] | 30 | 22.5 | 23.75 | 18.75
35 | VP57 |  |  |  | VP57 | 1947 | m | nein |  | 2020-08-13 15:30:36 | 2020-08-13 15:30:36 | 15 | 15 | 15 | 15 | 15 | 10 | 15 | 15 | 30 | 40 | 70 | [6 empty] | 10 | 10 | 10 | 10 | 10 | 10 | 25 | 35 | 45 | 45 | 60 | [6 empty] | 2020-08-13 15:30:36 | 2020-08-13 15:30:36 |  |  | 15 | 10 | 10 | 10 | 15 | 10 | 25 |  |  |  |  | 10 | 10 | 10 | 10 | 20 | 25 | 30 |  |  | 2020-08-13 15:30:36 | 2020-08-13 15:30:36 |  |  | 100 |  | 115 |  | 110 |  | 115 |  |  |  |  | 95 |  | 100 |  | 105 |  | 110 |  |  | 2020-08-13 15:30:36 | 2020-08-13 15:30:36 | [22 empty] | 18.75 | 22.5 | 16.25 | 17.5
36 | VP28 |  |  |  | VP28 | 1943 | w | ja | 2015-06 | 2019-12-11 14:37:52 | 2019-12-11 14:37:52 | 15 | 15 | 30 | 35 | 40 | 45 | 45 | 55 | 55 | 70 | 90 | [6 empty] | 15 | 20 | 25 | 45 | 40 | 45 | 60 | 65 | 75 | 80 | 95 | [6 empty] | 2019-12-11 14:37:52 | 2019-12-11 14:37:52 |  |  | 30 | 35 | 40 | 45 | 45 | 50 | 55 |  |  |  |  | 25 | 45 | 40 | 40 | 60 | 65 | 75 |  |  | 2019-12-11 14:37:52 | 2019-12-11 14:37:52 |  |  | 85 |  | 85 |  | 90 | 115 | 105 |  |  |  |  | 90 |  | 90 |  | 95 | 105 | 105 |  |  | 2019-12-11 14:37:52 | 2019-12-11 14:37:52 | [22 empty] | 42.5 | 50 | 42.5 | 50
37 | VP69 |  |  |  | VP69 | 1957 | m | ja | 2014-05 | 2020-08-25 11:53:27 | 2020-08-25 11:53:27 | 10 | 20 | 30 | 30 | 40 | 40 | 45 | 60 | 55 | 65 | 60 | [6 empty] | 10 | 20 | 30 | 35 | 35 | 40 | 55 | 60 | 65 | 60 | 65 | [6 empty] | 2020-08-25 11:53:27 | 2020-08-25 11:53:27 |  | 15 | 25 | 25 | 30 | 35 | 45 | 60 | 50 |  |  |  | 15 | 25 | 25 | 30 | 40 | 50 | 55 | 55 |  |  | 2020-08-25 11:53:27 | 2020-08-25 11:53:27 |  |  | 95 |  | 95 |  | 95 | 95 | 105 |  |  |  |  | 95 |  | 90 |  | 90 | 90 | 95 |  |  | 2020-08-25 11:53:27 | 2020-08-25 11:53:27 | [22 empty] | 42.5 | 46.25 | 37.5 | 40
38 | VP63 |  |  |  | VP63 | 1941 | w | ja | 2013-12 | 2020-09-08 10:43:30 | 2020-09-08 10:43:30 | 60 | 65 | 60 | 55 | 55 | 50 | 60 | 50 | 60 | 60 | 70 | [6 empty] | 50 | 55 | 60 | 60 | 55 | 50 | 45 | 65 | 55 | 55 | 65 | [6 empty] | 2020-09-08 10:43:30 | 2020-09-08 10:43:30 |  |  | 45 | 45 | 45 | 45 | 55 | 50 | 55 |  |  |  |  | 50 | 50 | 45 | 45 | 40 | 55 | 50 |  |  | 2020-09-08 10:43:30 | 2020-09-08 10:43:30 |  |  | 90 |  | 95 |  | 95 |  | 95 |  |  |  |  | 95 |  | 95 |  | 95 |  | 95 |  |  | 2020-09-08 10:43:30 | 2020-09-08 10:43:30 | [22 empty] | 58.75 | 53.75 | 50 | 46.25
39 | VP21 |  |  |  | VP21 | 1941 | m | ja |  | 2019-12-04 12:23:45 | 2019-12-04 12:23:45 | 20 | 25 | 25 | 35 | 35 | 35 | 40 | 40 | 45 | 65 | 70 | [6 empty] | 20 | 25 | 30 | 35 | 35 | 40 | 40 | 50 | 45 | 45 | 60 | [6 empty] | 2019-12-04 12:23:45 | 2019-12-04 12:23:45 |  |  | 25 | 35 | 30 | 35 | 40 | 35 | 35 |  |  |  |  | 30 | 30 | 30 | 40 | 40 | 50 | 45 |  |  | 2019-12-04 12:23:45 | 2019-12-04 12:23:45 |  |  | 75 |  | 75 |  | 80 |  | 80 |  |  |  |  | 75 |  | 75 |  | 75 |  | 80 |  |  | 2019-12-04 12:23:45 | 2019-12-04 12:23:45 | [22 empty] | 36.25 | 37.5 | 32.5 | 36.25
40 | VP29 |  |  |  | VP29 | 1944 | m | ja | 2018-01 | 2020-08-04 11:14:52 | 2020-08-04 11:14:52 | 15 | 20 | 15 | 15 | 20 | 20 | 15 | 40 | 45 | 65 | 70 | [6 empty] | 40 | 50 | 40 | 45 | 50 | 60 | 90 | 95 | 95 | 95 | 100 | [6 empty] | 2020-08-04 11:14:52 | 2020-08-04 11:14:52 |  |  | 15 | 10 | 15 | 15 | 10 | 30 | 30 |  |  |  |  | 25 | 25 | 35 | 45 | 65 | 60 | 65 |  |  | 2020-08-04 11:14:52 | 2020-08-04 11:14:52 |  |  | 115 |  | 100 |  | 100 | 100 | 105 |  |  |  |  | 115 |  | 120 | 115 | 115 | 115 | 115 |  |  | 2020-08-04 11:14:52 | 2020-08-04 11:14:52 | [22 empty] | 23.75 | 68.75 | 17.5 | 47.5
41 | VP47 |  |  |  | VP47 | 1950 | m | ja | 1996-10 | 2020-08-11 14:27:48 | 2020-08-11 14:27:48 | 70 | 75 | 80 | 80 | 80 | 80 | 80 | 95 | 95 | 95 | 95 | [6 empty] | 50 | 50 | 55 | 60 | 60 | 65 | 70 | 75 | 80 | 80 | 80 | [6 empty] | 2020-08-11 14:27:48 | 2020-08-11 14:27:48 |  |  | 70 | 75 | 70 | 80 | 80 | 80 | 75 |  |  |  |  | 50 | 55 | 55 | 60 | 65 | 70 | 75 |  |  | 2020-08-11 14:27:48 | 2020-08-11 14:27:48 |  |  | 110 |  | 110 |  | 110 | 115 | [5 empty] | 95 |  | 100 |  | 105 | 105 | 110 |  |  | 2020-08-11 14:27:48 | 2020-08-11 14:27:48 | [22 empty] | 83.75 | 66.25 | 73.75 | 61.25
42 | VP44 |  |  |  | VP44 | 1943 | m | ja | 2001-01 | 2020-08-11 09:45:58 | 2020-08-11 09:45:58 | 45 | 55 | 65 | 70 | 75 | 80 | 85 | 105 | 105 | 95 | 100 | [6 empty] | 40 | 45 | 55 | 60 | 60 | 75 | 80 | 80 | 90 | 105 | 105 | [6 empty] | 2020-08-11 09:45:58 | 2020-08-11 09:45:58 |  |  | 55 | 60 | 70 | 80 | [7 empty] | 50 | 60 | 60 | 75 | 80 | 80 | 80 |  |  | 2020-08-11 09:45:58 | 2020-08-11 09:45:58 |  |  | 105 |  | 105 |  | 110 |  | 110 |  |  |  |  | 100 |  | 105 |  | 110 | 115 |  |  |  | 2020-08-11 09:45:58 | 2020-08-11 09:45:58 | [22 empty] | 82.5 | 71.25 | 62.5 | 67.5
43 | VP51 |  |  |  | VP51 | 1957 | m | ja | 2018-03 | 2020-08-14 08:44:59 | 2020-08-14 08:44:59 | 15 | 20 | 20 | 25 | 25 | 35 | 40 | 55 | 80 | 95 | 100 | [6 empty] | 25 | 20 | 30 | 35 | 40 | 50 | 55 | 70 | 75 | 75 | 95 | [6 empty] | 2020-08-14 08:44:59 | 2020-08-14 08:44:59 |  |  | 20 | 20 | 25 | 25 | 35 | 50 | 60 |  |  |  |  | 25 | 30 | 35 | 40 | 50 | 60 | 60 |  |  | 2020-08-14 08:44:59 | 2020-08-14 08:44:59 |  |  | 100 |  | 100 |  | 100 | 105 | 105 |  |  |  |  | 100 |  | 100 |  | 110 | 110 | 110 |  |  | 2020-08-14 08:44:59 | 2020-08-14 08:44:59 | [22 empty] | 41.25 | 50 | 35 | 42.5
44 | VP23 |  |  |  | VP23 | 1943 | w | ja | 2013-08 | 2020-07-28 10:08:07 | 2020-07-28 10:08:07 | 20 | 20 | 35 | 50 | 70 | 65 | 70 | 70 | 85 | 95 | 95 | [6 empty] | 25 | 25 | 40 | 55 | 60 | 75 | 70 | 65 | 70 | 100 | 100 | [6 empty] | 2020-07-28 10:08:07 | 2020-07-28 10:08:07 |  |  | 30 | 50 | 70 | 65 | 65 | 70 | 70 |  |  |  |  | 35 | 50 | 55 | 75 | 70 | 65 | 70 |  |  | 2020-07-28 10:08:07 | 2020-07-28 10:08:07 |  |  | 95 |  | 95 |  | 105 | 115 | 105 |  |  |  |  | 95 |  | 95 |  | 100 | 115 | 110 |  |  | 2020-07-28 10:08:07 | 2020-07-28 10:08:07 | [22 empty] | 65 | 60 | 58.75 | 57.5
45 | VP61 |  |  |  | VP61 | 1951 | w | ja |  | 2020-08-24 15:22:00 | 2020-08-24 15:22:00 | 5 | 5 | 10 | 15 | 15 | 20 | 30 | 40 | 45 | 60 | 65 | [6 empty] | 15 | 10 | 10 | 15 | 15 | 20 | 25 | 30 | 40 | 55 | 60 | [6 empty] | 2020-08-24 15:22:00 | 2020-08-24 15:22:00 |  |  | 10 | 15 | 15 | 20 | 25 | 35 | 35 |  |  |  |  | 10 | 10 | 15 | 20 | 25 | 25 | 20 |  |  | 2020-08-24 15:22:00 | 2020-08-24 15:22:00 |  |  | 90 |  | 90 |  | 95 | 100 | 100 |  |  |  |  | 105 |  | 105 |  | 100 | 95 | 95 |  |  | 2020-08-24 15:22:00 | 2020-08-24 15:22:00 | [22 empty] | 25 | 22.5 | 21.25 | 17.5
46 | VP26 |  |  |  | VP26 | 1953 | w | ja | 2019-01 | 2019-12-10 10:06:08 | 2019-12-10 10:06:08 | 30 | 30 | 20 | 30 | 30 | 25 | 25 | 35 | 40 | 50 | 55 | [6 empty] | 35 | 30 | 20 | 30 | 30 | 30 | 25 | 35 | 50 | 55 | 60 | [6 empty] | 2019-12-10 10:06:08 | 2019-12-10 10:06:08 |  |  | 20 | 30 | 30 | 25 | 25 | 30 | 35 |  |  |  |  | 20 | 30 | 25 | 30 | 25 | 30 | 50 |  |  | 2019-12-10 10:06:08 | 2019-12-10 10:06:08 |  |  | 75 |  | 80 |  | 85 |  | 80 |  |  |  |  | 80 |  | 85 |  | 85 |  | 90 |  |  | 2019-12-10 10:06:08 | 2019-12-10 10:06:08 | [22 empty] | 28.75 | 31.25 | 27.5 | 30
47 | VP32 |  |  |  | VP32 | 1948 | m | nein |  | 2020-08-05 16:14:04 | 2020-08-05 16:14:04 | 10 | 5 | 5 | 10 | 10 | 30 | 45 | 70 | 75 | 75 | 80 | [6 empty] | 10 | 10 | 10 | 15 | 20 | 45 | 60 | 65 | 60 | 65 | 70 | [6 empty] | 2020-08-05 16:14:04 | 2020-08-05 16:14:04 |  |  | 5 | 10 | 10 | 30 | 40 | 60 | 50 |  |  |  |  | 5 | 10 | 15 | 35 | 50 | 55 | 50 |  |  | 2020-08-05 16:14:04 | 2020-08-05 16:14:04 |  |  | 100 |  | 100 |  | 110 | 115 | 115 |  |  |  |  | 105 |  | 110 |  | 115 | 115 | 110 |  |  | 2020-08-05 16:14:04 | 2020-08-05 16:14:04 | [22 empty] | 33.75 | 37.5 | 26.25 | 30
48 | VP41 |  |  |  | VP41 | 1942 | m | ja | 2008-03 | 2020-08-10 09:25:18 | 2020-08-10 09:25:18 | 55 | 55 | 55 | 55 | 55 | 60 | 60 | 65 | 65 | 65 | 70 | [6 empty] | 55 | 55 | 55 | 55 | 55 | 60 | 65 | 65 | 65 | 65 | 70 | [6 empty] | 2020-08-10 09:25:18 | 2020-08-10 09:25:18 |  |  | 55 | 55 | 50 | 55 | 60 | 60 | 60 |  |  |  |  | 55 | 55 | 55 | 60 | 65 | 65 | 65 |  |  | 2020-08-10 09:25:18 | 2020-08-10 09:25:18 |  |  | 110 |  | 105 |  | 110 | 115 | 105 |  |  |  |  | 95 |  | 100 |  | 105 | 115 | 110 |  |  | 2020-08-10 09:25:18 | 2020-08-10 09:25:18 | [22 empty] | 58.75 | 60 | 56.25 | 60
49 | VP52 |  |  |  | VP52 | 1953 | m | nein |  | 2020-08-27 10:43:11 | 2020-08-27 10:43:11 | 5 | 0 | 0 | 0 | 5 | 25 | 40 | 75 | 75 | 75 | 90 | [6 empty] | 5 | 0 | 5 | 0 | 0 | 15 | 25 | 65 | 70 | 80 | 90 | [6 empty] | 2020-08-27 10:43:11 | 2020-08-27 10:43:11 |  |  | -5 | 0 | 5 | 20 | 30 | 55 | 60 |  |  |  |  | -5 | -5 | 0 | 10 | 10 | 50 | 60 |  |  | 2020-08-27 10:43:11 | 2020-08-27 10:43:11 |  |  | 85 |  | 90 |  | 95 | 95 | 100 |  |  |  |  | 90 |  | 85 |  | 90 | 90 | 95 |  |  | 2020-08-27 10:43:11 | 2020-08-27 10:43:11 | [22 empty] | 30 | 25 | 22.5 | 16.25
50 | VP30 |  |  |  | VP30 | 1938 | m | ja | 2018-06 | 2020-08-04 13:26:22 | 2020-08-04 13:26:22 | 15 | 15 | 20 | 30 | 35 | 45 | 60 | 85 | 100 | 95 | 100 | [6 empty] | 10 | 10 | 20 | 25 | 25 | 35 | 45 | 75 | 75 | 65 | 70 | [6 empty] | 2020-08-04 13:26:22 | 2020-08-04 13:26:22 |  |  | 15 | 20 | 25 | 40 | 60 | 80 | 80 |  |  |  |  | 15 | 20 | 20 | 30 | 40 | 65 | 65 |  |  | 2020-08-04 13:26:22 | 2020-08-04 13:26:22 |  |  | 110 |  | 115 |  | 115 | 115 | [5 empty] | 115 |  | 110 |  | 110 | 115 | 115 |  |  | 2020-08-04 13:26:22 | 2020-08-04 13:26:22 | [22 empty] | 53.75 | 41.25 | 45 | 35
51 | VP46 |  |  |  | VP46 | 1975 | w | ja | 2005-01 | 2020-08-11 15:34:03 | 2020-08-11 15:34:03 | 55 | 60 | 65 | 70 | 65 | 65 | 70 | 70 | 70 | 65 | 65 | [6 empty] | 55 | 60 | 60 | 65 | 60 | 60 | 60 | 55 | 55 | 60 | 65 | [6 empty] | 2020-08-11 15:34:03 | 2020-08-11 15:34:03 |  |  | 60 | 65 | 65 | 65 | 70 | 70 | 70 |  |  |  |  | 60 | 65 | 60 | 60 | 60 | 55 | 55 |  |  | 2020-08-11 15:34:03 | 2020-08-11 15:34:03 |  |  | 95 |  | 100 |  | 100 | 100 | 100 |  |  |  |  | 95 |  | 95 |  | 90 | 95 | 95 |  |  | 2020-08-11 15:34:03 | 2020-08-11 15:34:03 | [22 empty] | 67.5 | 58.75 | 66.25 | 58.75
52 | VP70 |  |  |  | VP70 | 1952 | m | ja | 2012-11 | 2020-08-31 11:34:48 | 2020-08-31 11:34:48 | 0 | 0 | 10 | 30 | 30 | 45 | 40 | 50 | 55 | 55 | 55 | [6 empty] | 0 | 0 | 10 | 25 | 35 | 45 | 40 | 50 | 60 | 60 | 70 | [6 empty] | 2020-08-31 11:34:48 | 2020-08-31 11:34:48 |  |  | 0 | 20 | 25 | 25 | 30 | 50 | 50 |  |  |  |  | 10 | 20 | 25 | 35 | 40 | 45 | 50 |  |  | 2020-08-31 11:34:48 | 2020-08-31 11:34:48 |  |  | 85 |  | 95 |  | 95 | 95 | 100 |  |  |  |  | 85 |  | 95 |  | 95 | 95 | 100 |  |  | 2020-08-31 11:34:48 | 2020-08-31 11:34:48 | [22 empty] | 33.75 | 36.25 | 26.25 | 31.25
53 | VP38 |  |  |  | VP38 | 1949 | m | nein |  | 2020-08-07 09:13:04 | 2020-08-07 09:13:04 | 10 | 10 | 5 | 5 | 5 | 5 | 65 | 75 | 75 | 60 | 60 | [6 empty] | 30 | 30 | 30 | 30 | 20 | 10 | 25 | 60 | 65 | 55 | 75 | [6 empty] | 2020-08-07 09:13:04 | 2020-08-07 09:13:04 |  |  | 0 | 5 | -5 | 0 | 55 | 65 | 65 |  |  |  |  | 15 | 20 | 20 | 10 | 20 | 45 | 50 |  |  | 2020-08-07 09:13:04 | 2020-08-07 09:13:04 |  |  | 90 |  | 90 |  | 95 |  | 105 |  |  |  |  | 90 |  | 95 |  | 95 |  | 100 |  |  | 2020-08-07 09:13:04 | 2020-08-07 09:13:04 | [22 empty] | 37.5 | 35 | 28.75 | 26.25
54 | VP16 |  |  |  | VP16 | 1954 | w | nein |  | 2019-12-03 09:10:51 | 2019-12-03 09:10:51 | 5 | 5 | 5 | 10 | 10 | 10 | 20 | 35 | 40 | 40 | 45 | [6 empty] | 5 | 5 | 5 | 10 | 10 | 10 | 20 | 30 | 45 | 40 | 35 | [6 empty] | 2019-12-03 09:10:51 | 2019-12-03 09:10:51 |  |  | 5 | 10 | 10 | 10 | 20 | 30 | 30 |  |  |  |  | 5 | 10 | 10 | 10 | 20 | 30 | 35 |  |  | 2019-12-03 09:10:51 | 2019-12-03 09:10:51 |  |  | 115 |  | 100 |  | 100 | 100 | 100 |  |  |  |  | 115 |  | 105 |  | 100 | 90 | 90 |  |  | 2019-12-03 09:10:51 | 2019-12-03 09:10:51 | [22 empty] | 18.75 | 20 | 16.25 | 17.5
55 | VP48 |  |  |  | VP48 | 1941 | w | nein |  | 2020-08-11 12:54:10 | 2020-08-11 12:54:10 | 15 | 15 | 20 | 25 | 25 | 30 | 35 | 40 | 45 | 45 | 65 | [6 empty] | 15 | 15 | 20 | 20 | 25 | 25 | 35 | 40 | 45 | 60 | 70 | [6 empty] | 2020-08-11 12:54:10 | 2020-08-11 12:54:10 |  |  | 20 | 25 | 20 | 30 | 35 | 30 | 35 |  |  |  |  | 15 | 20 | 20 | 25 | 35 | 40 | 35 |  |  | 2020-08-11 12:54:10 | 2020-08-11 12:54:10 |  |  | 95 |  | 95 |  | 95 | 100 | 95 |  |  |  |  | 90 |  | 90 |  | 90 | 95 | 90 |  |  | 2020-08-11 12:54:10 | 2020-08-11 12:54:10 | [22 empty] | 31.25 | 31.25 | 27.5 | 26.25
56 | VP07 |  |  |  | VP07 | 1954 | m | ja | 2007-10 | 2020-09-07 15:01:32 | 2020-09-07 15:01:32 | 15 | 25 | 40 | 50 | 55 | 60 | 65 | 70 | 70 | 80 | 100 | [6 empty] | 25 | 25 | 40 | 45 | 55 | 60 | 65 | 65 | 70 | 85 | 90 | [6 empty] | 2020-09-07 15:01:32 | 2020-09-07 15:01:32 |  |  | 40 | 50 | 50 | 60 | 60 | 70 | 60 |  |  |  |  | 40 | 45 | 50 | 55 | 60 | 65 | 60 |  |  | 2020-09-07 15:01:32 | 2020-09-07 15:01:32 |  |  | 110 |  | 105 |  | 110 |  | 105 |  |  |  |  | 100 |  | 105 |  | 105 |  | 105 |  |  | 2020-09-07 15:01:32 | 2020-09-07 15:01:32 | [22 empty] | 57.5 | 57.5 | 52.5 | 52.5
57 | VP05 |  |  |  | VP05 | 1945 | m | ja | 2014-11 | 2019-10-22 14:57:30 | 2019-10-22 14:57:30 | 15 | 20 | 30 | 35 | 35 | 45 | 40 | 30 | 35 | 50 | 55 | [6 empty] | 15 | 15 | 35 | 40 | 40 | 50 | 50 | 65 | 70 | 70 | 80 | [6 empty] | 2019-10-22 14:57:30 | 2019-10-22 14:57:30 |  |  | 25 | 30 | 30 | 40 | 35 | 25 | 25 |  |  |  |  | 25 | 35 | 30 | 40 | 45 | 45 | 50 |  |  | 2019-10-22 14:57:30 | 2019-10-22 14:57:30 |  |  | 115 |  | 100 |  | 90 | 90 | 90 |  |  |  |  | 105 |  | 90 |  | 90 | 90 | 95 |  |  | 2019-10-22 14:57:30 | 2019-10-22 14:57:30 | [22 empty] | 35 | 48.75 | 28.75 | 37.5
58 | VP82 |  |  |  | VP82 | 1945 | m | nein |  | 2020-08-06 13:15:47 | 2020-08-06 13:15:47 | 5 | 0 | 0 | 5 | 5 | 15 | 20 | 60 | 65 | 75 | 75 | [6 empty] | 15 | 10 | 10 | 10 | 5 | 15 | 20 | 65 | 70 | 75 | 70 | [6 empty] | 2020-08-06 13:15:47 | 2020-08-06 13:15:47 |  |  | 5 | 5 | 5 | 15 | 25 | 55 | 60 |  |  |  |  | 10 | 10 | 5 | 10 | 20 | 55 | 60 |  |  | 2020-08-06 13:15:47 | 2020-08-06 13:15:47 |  |  | 85 |  | 85 |  | 90 | 95 | 95 |  |  |  |  | 95 |  | 90 |  | 90 | 90 | 95 |  |  | 2020-08-06 13:15:47 | 2020-08-06 13:15:47 | [22 empty] | 22.5 | 26.25 | 23.75 | 23.75
59 | VP62 |  |  |  | VP62 | 1953 | w | nein |  | 2020-08-17 10:14:55 | 2020-08-17 10:14:55 | 5 | 5 | 10 | 15 | 20 | 30 | 35 | 45 | 50 | 45 | 55 | [6 empty] | 5 | 5 | 15 | 15 | 10 | 25 | 30 | 35 | 45 | 50 | 55 | [6 empty] | 2020-08-17 10:14:55 | 2020-08-17 10:14:55 |  | 0 | 10 | 15 | 15 | 25 | 35 | 40 | 45 |  |  |  | 5 | 10 | 10 | 10 | 25 | 35 | 35 | 40 |  |  | 2020-08-17 10:14:55 | 2020-08-17 10:14:55 |  |  | 90 |  | 95 |  | 90 | 95 | 95 |  |  |  |  | 90 |  | 95 |  | 105 | 110 | 105 |  |  | 2020-08-17 10:14:55 | 2020-08-17 10:14:55 | [22 empty] | 28.75 | 25 | 26.25 | 23.75
60 | VP31 |  |  |  | VP31 | 1940 | w | nein |  | 2020-08-04 15:16:36 | 2020-08-04 15:16:36 | 20 | 20 | 20 | 20 | 15 | 10 | 20 | 40 | 40 | 75 | 85 | [6 empty] | 20 | 15 | 15 | 20 | 15 | 20 | 30 | 50 | 60 | 80 | 80 | [6 empty] | 2020-08-04 15:16:36 | 2020-08-04 15:16:36 |  |  | 10 | 15 | 10 | 10 | 20 | 25 | 35 |  |  |  |  | 15 | 15 | 10 | 20 | 30 | 40 | 50 |  |  | 2020-08-04 15:16:36 | 2020-08-04 15:16:36 |  |  | 80 |  | 80 |  | 85 | 95 | 90 |  |  |  |  | 85 |  | 95 |  | 95 | 105 | 105 |  |  | 2020-08-04 15:16:36 | 2020-08-04 15:16:36 | [22 empty] | 23.75 | 30 | 18.75 | 26.25
61 | VP75 |  |  |  | VP75 | 1947 | w | ja | 2015-05 | 2020-09-11 10:04:02 | 2020-09-11 10:04:02 | 15 | 25 | 30 | 35 | 30 | 35 | 40 | 45 | 50 | 60 | 95 | [6 empty] | 10 | 25 | 35 | 35 | 35 | 40 | 40 | 50 | 55 | 55 | 70 | [6 empty] | 2020-09-11 10:04:02 | 2020-09-11 10:04:02 |  |  | 20 | 25 | 25 | 30 | 35 | 40 | 40 |  |  |  |  | 30 | 30 | 30 | 40 | 40 | 40 | 45 |  |  | 2020-09-11 10:04:02 | 2020-09-11 10:04:02 |  |  | 105 |  | 100 |  | 95 | 95 | 100 |  |  |  |  | 100 |  | 95 |  | 95 | 95 | 95 |  |  | 2020-09-11 10:04:02 | 2020-09-11 10:04:02 | [22 empty] | 37.5 | 41.25 | 30 | 36.25
62 | VP20 |  |  |  | VP20 | 1946 | m | nein |  | 2019-11-26 12:14:30 | 2019-11-26 12:14:30 | 10 | 10 | 10 | 20 | 15 | 20 | 20 | 40 | 40 | 45 | 75 | [6 empty] | 15 | 15 | 15 | 20 | 15 | 20 | 30 | 55 | 55 | 55 | 75 | [6 empty] | 2019-11-26 12:14:30 | 2019-11-26 12:14:30 |  |  | 10 | 20 | 15 | 20 | 20 | 35 | 40 |  |  |  |  | 10 | 15 | 10 | 20 | 30 | 50 | 50 |  |  | 2019-11-26 12:14:30 | 2019-11-26 12:14:30 |  |  | 65 |  | 65 |  | 65 |  | 70 |  |  |  |  | 65 |  | 65 |  | 70 |  | 70 |  |  | 2019-11-26 12:14:30 | 2019-11-26 12:14:30 | [22 empty] | 21.25 | 28.75 | 21.25 | 25
63 | VP71 |  |  |  | VP71 | 1946 | w | ja |  | 2020-09-09 10:46:52 | 2020-09-09 10:46:52 | 25 | 25 | 30 | 35 | 40 | 40 | 50 | 50 | 60 | 70 | 80 | [6 empty] | 20 | 20 | 25 | 35 | 35 | 45 | 60 | 55 | 55 | 65 | 85 | [6 empty] | 2020-09-09 10:46:52 | 2020-09-09 10:46:52 |  |  | 25 | 35 | 35 | 35 | 50 | 50 | 55 |  |  |  |  | 25 | 30 | 35 | 40 | 55 | 50 | 45 |  |  | 2020-09-09 10:46:52 | 2020-09-09 10:46:52 |  |  | 80 |  | 80 |  | 85 | 90 | 100 |  |  |  |  | 80 |  | 80 |  | 85 |  | 90 |  |  | 2020-09-09 10:46:52 | 2020-09-09 10:46:52 | [22 empty] | 45 | 43.75 | 41.25 | 40
64 | VP15 |  |  |  | VP15 | 1951 | m | nein |  | 2019-12-02 11:16:34 | 2019-12-02 11:16:34 | 15 | 10 | 5 | 10 | 10 | 20 | 25 | 30 | 35 | 40 | 55 | [6 empty] | 5 | 10 | 5 | 10 | 10 | 15 | 25 | 40 | 40 | 50 | 60 | [6 empty] | 2019-12-02 11:16:34 | 2019-12-02 11:16:34 |  |  | 5 | 10 | 10 | 20 | 25 | 30 | 30 |  |  |  |  | 5 | 10 | 10 | 15 | 25 | 40 | 35 |  |  | 2019-12-02 11:16:34 | 2019-12-02 11:16:34 |  |  | 90 |  | 85 |  | 85 |  | 85 |  |  |  |  | 80 |  | 80 |  | 80 |  | 90 |  |  | 2019-12-02 11:16:34 | 2019-12-02 11:16:34 | [22 empty] | 18.75 | 20 | 17.5 | 18.75
65 | VP60 |  |  |  | VP60 | 1950 | w |  |  | 2020-09-08 16:43:53 | 2020-09-08 16:43:53 | 15 | 20 | 30 | 40 | 45 | 45 | 45 | 50 | 65 | 65 | 70 | [6 empty] | 25 | 30 | 35 | 45 | 45 | 40 | 45 | 50 | 55 | 60 | 60 | [6 empty] | 2020-09-08 16:43:53 | 2020-09-08 16:43:53 |  |  | 30 | 40 | 45 | 45 | 40 | 45 | 60 |  |  |  |  | 30 | 40 | 45 | 40 | 35 | 45 | 45 |  |  | 2020-09-08 16:43:53 | 2020-09-08 16:43:53 |  |  | 95 |  | 95 |  | 95 | 95 | 95 |  |  |  |  | 85 |  | 85 |  | 90 | 90 | 95 |  |  | 2020-09-08 16:43:53 | 2020-09-08 16:43:53 | [22 empty] | 46.25 | 45 | 43.75 | 38.75
66 | VP77 |  |  |  | VP77 | 1951 | w | nein |  | 2020-09-10 14:15:43 | 2020-09-10 14:15:43 | 10 | 15 | 20 | 25 | 25 | 20 | 25 | 40 | 50 | 55 | 55 | [6 empty] | 25 | 25 | 30 | 35 | 25 | 25 | 40 | 45 | 45 | 50 | 55 | [6 empty] | 2020-09-10 14:15:43 | 2020-09-10 14:15:43 |  |  | 15 | 20 | 20 | 20 | 25 | 40 | 45 |  |  |  |  | 25 | 30 | 25 | 25 | 40 | 45 | 40 |  |  | 2020-09-10 14:15:43 | 2020-09-10 14:15:43 |  |  | 90 |  | 85 |  | 85 | 90 | 90 |  |  |  |  | 105 |  | 100 |  | 105 | 105 | 100 |  |  | 2020-09-10 14:15:43 | 2020-09-10 14:15:43 | [22 empty] | 30 | 35 | 26.25 | 32.5
67 | VP35 |  |  |  | VP35 | 1956 | m |  |  | 2020-01-13 09:33:25 | 2020-01-13 09:33:25 | 25 | 30 | 35 | 45 |  | 50 | 55 | 55 | 60 | 60 | 70 | [6 empty] | 40 | 45 | 55 | 65 | 70 | 85 | 95 | 105 | 105 | 100 | 100 | [6 empty] | 2020-01-13 09:33:25 | 2020-01-13 09:33:25 |  |  | 20 | 35 | 45 | 50 | 55 | 55 | 50 |  |  |  |  | 30 | 35 | 45 | 80 | 60 | 60 | 75 |  |  | 2020-01-13 09:33:25 | 2020-01-13 09:33:25 |  |  | 105 |  | 100 |  | 100 |  | 105 |  |  |  |  | 115 |  | 115 |  | 115 |  |  |  |  | 2020-01-13 09:33:25 | 2020-01-13 09:33:25 | [22 empty] | 50 | 81.25 | 42.5 | 52.5
68 | VP53 |  |  |  | VP53 | 1953 | m | ja |  | 2020-08-27 09:01:20 | 2020-08-27 09:01:20 | 10 | 15 | 15 | 20 | 15 | 25 | 25 | 40 | 55 | 70 | 90 | [6 empty] | 15 | 15 | 20 | 20 | 25 | 35 | 35 | 50 | 60 | 70 | 65 | [6 empty] | 2020-08-27 09:01:20 | 2020-08-27 09:01:20 |  |  | 5 | 10 | 10 | 25 | 20 | 35 | 35 |  |  |  |  | 20 | 20 | 25 | 35 | 30 | 30 | 35 |  |  | 2020-08-27 09:01:20 | 2020-08-27 09:01:20 |  |  | 90 |  | 90 |  | 85 | 90 | 90 |  |  |  |  | 95 |  | 90 |  | 95 | 105 | 105 |  |  | 2020-08-27 09:01:20 | 2020-08-27 09:01:20 | [22 empty] | 27.5 | 35 | 17.5 | 27.5
69 | VP19 |  |  |  | VP19 | 1952 | w | ja |  | 2019-12-06 08:58:31 | 2019-12-06 08:58:31 | 55 | 55 | 55 | 60 | 60 | 60 | 65 | 65 | 60 | 65 | 80 | [6 empty] | 25 | 25 | 30 | 30 | 35 | 45 | 45 | 55 | 50 | 50 | 70 | [6 empty] | 2019-12-06 08:58:31 | 2019-12-06 08:58:31 |  |  | 55 | 55 | 55 | 55 | 65 | 60 | 60 |  |  |  |  | 30 | 30 | 30 | 40 | 45 | 55 | 50 |  |  | 2019-12-06 08:58:31 | 2019-12-06 08:58:31 |  |  | 90 |  | 90 |  | 95 |  | 95 |  |  |  |  | 80 |  | 80 |  | 85 |  | 90 |  |  | 2019-12-06 08:58:31 | 2019-12-06 08:58:31 | [22 empty] | 60 | 40 | 58.75 | 38.75
70 | VP17 |  |  |  | VP17 | 1955 | m | ja | 2019-12 | 2019-12-06 09:11:25 | 2019-12-06 09:11:25 | 10 | 5 | 5 | 5 | 10 | 15 | 15 | 30 | 35 | 30 | 30 | [6 empty] | 10 | 5 | 5 | 15 | 10 | 15 | 15 | 35 | 45 | 55 | 60 | [6 empty] | 2019-12-06 09:11:25 | 2019-12-06 09:11:25 |  |  | 0 | 0 | 10 | 10 | 15 | 25 | 30 |  |  |  |  | 0 | 10 | 10 | 10 | 15 | 25 | 45 |  |  | 2019-12-06 09:11:25 | 2019-12-06 09:11:25 |  |  | 80 |  | 85 |  | 85 |  | 80 |  |  |  |  | 85 |  | 90 |  | 85 |  | 85 |  |  | 2019-12-06 09:11:25 | 2019-12-06 09:11:25 | [22 empty] | 16.25 | 18.75 | 13.75 | 17.5
71 | VP12 |  |  |  | VP12 | 1958 | w | ja | 2016-01 | 2020-03-09 13:06:16 | 2020-03-09 13:06:16 | 10 | 15 | 20 | 20 | 20 | 35 | 35 | 35 | 45 | 50 | 60 | [6 empty] | 10 | 10 | 15 | 20 | 20 | 35 | 35 | 40 | 45 | 50 | 60 | [6 empty] | 2020-03-09 13:06:16 | 2020-03-09 13:06:16 |  |  | 20 | 20 | 20 | 35 | 35 | 35 | 45 |  |  |  |  | 15 | 20 | 20 | 35 | 35 | 40 | 45 |  |  | 2020-03-09 13:06:16 | 2020-03-09 13:06:16 |  |  | 80 |  | 80 |  | 90 |  | 90 |  |  |  |  | 80 |  | 80 |  | 80 |  | 80 |  |  | 2020-03-09 13:06:16 | 2020-03-09 13:06:16 | [22 empty] | 30 | 28.75 | 30 | 28.75
72 | VP06 |  |  |  | VP06 | 1942 | w |  |  | 2020-08-07 11:07:48 | 2020-08-07 11:07:48 | 25 | 20 | 20 | 35 | 35 | 35 | 40 | 50 | 50 | 50 | 65 | [6 empty] | 95 | 105 | 115 | 115 | 115 | 110 | 110 | 115 | 110 | 100 | 100 | [6 empty] | 2020-08-07 11:07:48 | 2020-08-07 11:07:48 |  |  | 20 | 30 | 30 | 30 | 30 | 40 | 40 |  |  |  |  | 65 | 75 | 80 | 80 | 80 | 75 | 75 |  |  | 2020-08-07 11:07:48 | 2020-08-07 11:07:48 |  |  | 90 |  | 90 |  | 95 |  | 95 | [13 empty] | 2020-08-07 11:07:48 | 2020-08-07 11:07:48 | [22 empty] | 36.25 | 112.5 | 30 | 75
73 | VP42 |  |  |  | VP42 | 1947 | m | ja | 2016-02 | 2020-08-10 11:10:54 | 2020-08-10 11:10:54 | 15 | 20 | 35 | 55 | 70 | 85 | 80 | 80 | 80 | 70 | 75 | [6 empty] | 15 | 15 | 30 | 35 | 55 | 65 | 70 | 85 | 85 | 75 | 75 | [6 empty] | 2020-08-10 11:10:54 | 2020-08-10 11:10:54 |  |  | 25 | 45 | 60 | 75 | 75 | 75 | 80 |  |  |  |  | 20 | 25 | 55 | 65 | 70 | 80 | 75 |  |  | 2020-08-10 11:10:54 | 2020-08-10 11:10:54 |  |  | 100 |  | 105 |  | 105 | 110 | 110 |  |  |  |  | 95 |  | 95 |  | 100 | 105 | 105 |  |  | 2020-08-10 11:10:54 | 2020-08-10 11:10:54 | [22 empty] | 66.25 | 60 | 60 | 55
74 | VP39 |  |  |  | VP39 | 1945 | w | ja | 2019-09 | 2020-08-05 09:06:16 | 2020-08-05 09:06:16 | 15 | 15 | 15 | 15 | 15 | 25 | 30 | 35 | 45 | 55 | 65 | [6 empty] | 20 | 20 | 20 | 20 | 20 | 20 | 30 | 35 | 40 | 55 | 65 | [6 empty] | 2020-08-05 09:06:16 | 2020-08-05 09:06:16 |  |  | 15 | 15 | 10 | 20 | 25 | 30 | 35 |  |  |  |  | 20 | 15 | 15 | 15 | 25 | 25 | 30 |  |  | 2020-08-05 09:06:16 | 2020-08-05 09:06:16 |  |  | 90 |  | 85 |  | 85 | 85 | 85 |  |  |  |  | 90 |  | 85 |  | 90 | 85 | 85 |  |  | 2020-08-05 09:06:16 | 2020-08-05 09:06:16 | [22 empty] | 26.25 | 27.5 | 21.25 | 22.5
75 | VP33 |  |  |  | VP33 | 1944 | w | nein |  | 2020-08-05 14:02:42 | 2020-08-05 14:02:42 | 20 | 20 | 15 | 15 | 30 | 40 | 45 | 50 | 55 | 70 | 75 | [6 empty] | 20 | 15 | 15 | 15 | 10 | 20 | 35 | 50 | 60 | 70 | 80 | [6 empty] | 2020-08-05 14:02:42 | 2020-08-05 14:02:42 |  |  | 10 | 10 | 10 | 35 | 45 | 35 | 35 |  |  |  |  | 10 | 10 | 5 | 20 | 30 | 35 | 35 |  |  | 2020-08-05 14:02:42 | 2020-08-05 14:02:42 |  |  | 115 |  | 115 |  | 110 |  | 105 |  |  |  |  | 115 |  | 110 |  | 110 |  | 110 |  |  | 2020-08-05 14:02:42 | 2020-08-05 14:02:42 | [22 empty] | 36.25 | 30 | 25 | 20
76 | VP11 |  |  |  | VP11 | 1949 | m | nein |  | 2019-10-01 14:46:08 | 2019-10-01 14:46:08 | 5 | 5 | 10 | 10 | 10 | 20 | 30 | 25 | 30 | 35 | 45 | [6 empty] | 10 | 10 | 10 | 20 | 10 | 25 | 35 | 35 | 40 | 50 | 55 | [6 empty] | 2019-10-01 14:46:08 | 2019-10-01 14:46:08 |  |  | 10 | 10 | 10 | 20 | 30 | 25 | 25 |  |  |  |  | 10 | 20 | 10 | 25 | 35 | 35 | 40 |  |  | 2019-10-01 14:46:08 | 2019-10-01 14:46:08 |  |  | 85 |  | 85 |  | 85 |  | 90 |  |  |  |  | 90 |  | 90 |  | 90 |  | 90 |  |  | 2019-10-01 14:46:08 | 2019-10-01 14:46:08 | [22 empty] | 20 | 23.75 | 18.75 | 23.75
77 | VP27 |  |  |  | VP27 | 1952 | m |  |  | 2019-04-26 00:00:00 | 2019-04-26 00:00:00 | 65 | 70 | 70 | 70 | 70 | 65 | 65 | 65 | 75 | 90 | 90 | [6 empty] | 15 | 5 | 5 | 5 | 10 | 15 | 15 | 20 | 45 | 35 | 60 | [6 empty] | 2019-04-26 00:00:00 | 2019-04-26 00:00:00 |  |  | 60 | 60 | 60 | 60 | 60 |  | 65 |  |  |  |  | 5 |  | 10 | 10 | 15 | 20 | 30 |  |  | 2019-04-26 00:00:00 | 2019-04-26 00:00:00 | [22 empty] | 2019-04-26 00:00:00 | 2019-04-26 00:00:00 | [22 empty] | 70 | 18.75 | 61.25 | 15
78 | VP18 |  |  |  | VP18 | 1955 | m | nein |  | 2019-12-13 11:59:11 | 2019-12-13 11:59:11 | 25 | 20 | 25 | 25 | 30 | 25 | 35 | 35 | 40 | 55 | 70 | [6 empty] | 30 | 25 | 35 | 25 | 25 | 35 | 40 | 45 | 50 | 60 | 70 | [6 empty] | 2019-12-13 11:59:11 | 2019-12-13 11:59:11 |  |  | 20 | 20 | 25 | 25 | 30 | 25 | 35 |  |  |  |  | 35 | 15 | 20 | 35 | 35 | 40 | 40 |  |  | 2019-12-13 11:59:11 | 2019-12-13 11:59:11 |  |  | 95 |  | 90 |  | 90 |  | 95 |  |  |  |  | 90 |  | 95 |  | 95 |  | 90 |  |  | 2019-12-13 11:59:11 | 2019-12-13 11:59:11 | [22 empty] | 32.5 | 37.5 | 27.5 | 32.5
79 | VP49 |  |  |  | VP49 | 1947 | w | nein |  | 2020-02-14 09:26:34 | 2020-02-14 09:26:34 | 20 | 5 | 10 | 15 | 10 | 20 | 20 | 25 | 35 | 55 | 75 | [6 empty] | 10 | 5 | 10 | 10 | 5 | 15 | 20 | 35 | 40 | 40 | 60 | [6 empty] | 2020-02-14 09:26:34 | 2020-02-14 09:26:34 |  |  | 10 | 15 | 10 | 20 | 20 | 25 | 25 |  |  |  |  | 10 | 10 | 5 | 15 | 20 | 25 | 30 |  |  | 2020-02-14 09:26:34 | 2020-02-14 09:26:34 |  |  | 85 |  | 85 |  | 90 |  | 90 |  |  |  |  | 80 |  | 85 |  | 85 |  | 85 |  |  | 2020-02-14 09:26:34 | 2020-02-14 09:26:34 | [22 empty] | 18.75 | 18.75 | 16.25 | 16.25
80 | VP50 |  |  |  | VP50 | 1943 | m | nein |  | 2020-02-14 09:54:01 | 2020-02-14 09:54:01 | 40 | 45 | 45 | 45 | 30 | 20 | 15 | 15 | 20 | 35 | 55 | [6 empty] | 30 | 35 | 30 | 25 | 20 | 20 | 15 | 20 | 20 | 50 | 55 | [6 empty] | 2020-02-14 09:54:01 | 2020-02-14 09:54:01 |  |  | 30 | 30 | 25 | 20 | 10 | 15 | 15 |  |  |  |  | 15 | 15 | 20 | 15 | 10 | 15 | 10 |  |  | 2020-02-14 09:54:01 | 2020-02-14 09:54:01 |  |  | 100 |  | 100 |  | 95 | 95 | 95 |  |  |  |  | 100 |  | 90 |  | 95 | 95 | 95 |  |  | 2020-02-14 09:54:01 | 2020-02-14 09:54:01 | [22 empty] | 27.5 | 21.25 | 20 | 13.75
81 | [117 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
82 | [117 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
83 | [117 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
84 | [117 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
85 | [117 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
86 | [117 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
87 | [117 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
88 | [117 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
89 | [117 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
90 | [117 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
91 | [117 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
92 | [117 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
93 | [117 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
94 | [117 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
95 | [117 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
96 | [117 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Formulas:
Hearing Threshold - Air Conduction (AC) = MIN([Hearing Threshold - Air Conduction (AC), row below]:K10005)
Hearing Threshold - Bone Conduction (BC) = MIN([Hearing Threshold - Bone Conduction (BC), row below]:AU10005)
Uncomfortable Loudness Level (UCL) = MIN([Uncomfortable Loudness Level (UCL), row below]:BS10005)
Most Comfortable Loudness Level (MCL) = MIN([Most Comfortable Loudness Level (MCL), row below]:CQ10005)